Code No.321056

OR

III B.Tech.  II Semester Supplementary Examinations, November-2003

OPTOELECTRONICS AND LASER INSTRUMENTATION

(Electronics and Instrumentation Engineering)

Time: 3 hours							         Max. Marks:70

Answer any FIVE questions

All question carry equal marks

- - -

1.a)	Explain the historical development of optical fibers with the help of Electromagnetic spectrum.

b)	Draw a graph showing the refractive index distribution of central core cladded

optical fibre and explain the plot.

2.a)	Give any three applications of optical fibers for instrumentation and explain them with the necessary figures.

b)	Draw the block diagram of a typical fiber optic communication system and explain the function of each block in detail.

3.a)	Explain double hetero-structure lasers with the help of a neat energy diagram.

b)	In a ruby laser N0=2 * 10 19atoms /cm3, t2 = tspont = 3 * 10-4 Sec, tflash = 5 * 10-4 sec. Find out threshold elective energy input per square centimeter of laser surface.

4.a)	Describe the working of Moire-fringe modulation fiber optic sensor.

b)	Differentiate between an intensity modulated sensor and interferometric fiber optic sensor.

5.a)	How do you estimate the transmission line loss using single mode fiber optic sensor.

b)	Differentiate between an extrinsic and intrinsic fiber optic sensor.

6.	With neat diagrams explain the following applications of lasers in detail :

(a) Lasers in material processing	(b) Laser fusion in power plants.

7.a)	Compare the difference in performance characteristics between conventional LED and super luminescent LED.

b)	Estimate the power generated internally within a double heterojunction LED at a drive current of 60mA and a peak emission wavelength of 1.31 µm. The radiative and non-raidiative recombination life time of the minority carriers in the active region are 100 µs. and 60µs respectively.

8.a)	Consider only quantum or photon noise in a APD obtain expression for signal – to – noise ratio.

b)	An APD generates a current of 100mA. When the incident power is 5nw. The operating wavelength is 1.5 µm. Find its responsivity. If the quantum efficiency is 0.7, find the multiplication factor.

@@@@@