Code No. 321054

OR

III B.Tech II-Semester Supplementary Examinations November 2003

TELEMETRY AND TELECONTROL

(Common to Electrical and Instrumentation Engineering and Electrical and Control Engineering)

Time: 3 hours							Max. Marks: 70

Answer any Five questions

All question carry equal marks

---

1. a)	Briefly explain the principle and operation of an Electrical Telemetry System.

b)	Briefly explain the principle and operation of a Hydraulic Telemetry System with figures.

2. a)	Explain the Pulse systems function with circuit diagrams and waveforms in Landline Telemetry.

b)	Explain the principle and operation of current Telemetry system with figures.

3. a)	Explain the principle and operation of synchro-position telemetry system with a figure and with the necessary expressions.

b)	What is a Amplitude Modulation?  Give a scheme for obtaining the amplitude modulation with a figure, derive the expression for the output and draw the output and draw the input and output waveforms.

4. a)	Explain the principle and operation of Armstrong’s method of FM Transmitter with a block diagram.

b)	Explain the operation of super heterodyne receiver with a block diagram.

5. a)	Draw the block diagram of a Delta modulator / demodulator and explain its operation with the waveforms.

b)	Explain the following in Radio Telemetry Receiver.

(i)  Selectivity		(ii) Sensitivity	      (iii) Noise.

6. a)	Explain the construction and operation of two types of sources for Fibre optic transmission with figures and graphs.

b)	Explain the operation of optical detectors with the necessary expressions circuits and graphs.

7.	Explain with figures about the telecontrol apparatus remote adjustment, guidance and regulation in detail.

8. a)	Briefly explain about the  Telecontrol  using information theory.

b)	What is a phase modulation?  Explain the procedure of obtaining the phase modulation with equations.

###