Code No:320205

Set No.

1

# III B.Tech. II-Semester Supplementary Examinations, November-2003

POWER SYSTEMS-III

(Electrical and Electronics Engineering)

Time:3 hours							Max Marks:80

Answer any Five Questions

All questions carry equal marks.

----

1.a)	Explain briefly about traveling waves on Transmission lines

b)	Derive the equations for voltage and current Traveling waves for a single circuit   two conductors.

2.	Discuss the advantages of the neutral grounding and explain why there is a trend at present towards effectively earthed systems?

3.a)	Explain how sF6 gas in ideally suitable for circuit breaker.

b)	Explain the operation of SF6 circuit breaker with relevant sketch in a detailed manner.

4.a)	Explain the Phenomenon of current chopping in a circuit breaker. What measures are taken to reduce it.

b)	A circuit interrupts the magnetizing current of a 100MVA transformer at 220kV. The magnetizing current is 5% of the full load current. Determine the maximum voltage which may appear across the Gap of the breaker when the magnetizing current is interrupted at 53% of its peak value. The stray capacitance is 2500 microfarad. The inductance is 30H.

5.a) 	Explain in detail the role of protective relays in a power systems.

b) 	Discuss in detail the causes and types and frequency of faults encountered in a power system.

6.a)	Explain the merits demerits of static relays.

b)	Discuss how an amplitude comparator can be converted into a phase comparator and vice versa.

7.a)	Discuss the protection employed against the loss of excitation of an alternator.

b) 	Is there any back up protection employed for the protection of an alternator. If yes, discuss the scheme, which is used for this purpose.

8.a)	Explain the directional impedance relay by means of its characteristics on R –X plane.

b)	Explain how arc resistance introduces an error in distance measurement.

@@@@@

Code No:320205

Set No.

2

# III B.Tech. II-Semester Supplementary Examinations, November-2003

POWER SYSTEMS-III

(Electrical and Electronics Engineering)

Time:3 hours							Max Marks:80

Answer any Five Questions

All questions carry equal marks.

----

1.a)	Explain briefly the specification of Traveling waves.

b)	Develop general formula for reflection and refraction co-efficient for a line with     surge impedance Zc terminated by an impedance Z.

2.a) 	Explain the statement in ungrounded system “ Healthy line voltage increases by 3 times during an earth fault on the third line “.

b) 	Discuss the merits of  (i) Solid grounding  (ii) Resistance grounding.

3.a)	Explain the factors which are influencing the performance of  an air blast circuit breaker.

b)	Explain with a neat sketch the working of a Air blast circuit breaker.

4.		Explain the following in detail

  - Symmetrical breaking capacity

  - Asymmetrical breaking capacity

c)	Rating of circuit breakers

5.a) 	What is a protective relay? What are the fundamental requirements of protective relaying? What are the unit system of protection and non-unit system of protection?

b) 	Explain in detail the primary and back-up protection. What are the advantages of zonal protection?

6.a) 	Where are the relays having extremely inverse and very inverse characteristics used? What types of characteristics are used for protecting rectifiers, and for replacement of fuses?

b) 	Explain how the mho characteristic realized using a sampling comparator?

7.a)	A 3_phase 66/11 K.V. star delta connected transformer is protected by Merz_price protection scheme. The C.T.s on the LT side have a ratio of 420/5 amps. Show that the C.T.s  on the H.T side will have a ratio of 70: 5/ Ö3.

b)	Give various schemes of protection for feeders.

8.a)	Explain the 3 step characteristics of distance relay.

b)	Explain how power swing affects distance relays.

@@@@@

Code No:320205

Set No.

3

# III B.Tech. II-Semester Supplementary Examinations, November-2003

POWER SYSTEMS-III

(Electrical and Electronics Engineering)

Time:3 hours							Max Marks:80

Answer any Five Questions

All questions carry equal marks.

----

1.a)	Mention various types of line termination. Also explain reactive termination by   inductance.

b)	A Step wave of 100 kV travels on a line having a surge impedance of 400 ohms. The line is terminated by an inductance of 4000µH.find the voltage across the inductance and the reflected voltage wave.

2.a) 	Distinguish between  neutral  earthing and equipment earthing .

b) 	Explain the necessity of reactance grounding.

3a)	In what aspects is a minimum oil circuit breaker an improvement over the bulk oil breakers.

b)	Discuss the performance of a circuit breaker when capacitive currents are interrupted.

4.	Write short notes on the following.

(a) Making capacity				(b) Short time current rating

(c) Rated voltage, current and frequency	(d) Rated operating duty

5.a) 	What are the possible reasons for the failure of primary protection and how these are taken care of in back up schemes.

b) 	Distinguish between remote backup and local backup protection schemes.

6.a)	Write short notes on an amplitude /pulse width converter as applied in a phase sensitive amplitude comparator.

b) 	Write short notes on (i) static sine comparator (ii) integrating type amplitude comparator.

7.a)	What are the abnormal conditions in a large alternator against which protection is necessary?

b)	What is meant by percent bias? How it is achieved in a differential relay?

8.a)	Discuss the considerations which determine the need for a busbar protection.

b) 	Discuss any one busbar protection scheme in detail.

@@@@@

Code No:320205

Set No.

4

## III B.Tech. II-Semester Supplementary Examinations, November-2003

POWER SYSTEMS-III

(Electrical and Electronics Engineering)

Time:3 hours							Max Marks:80

Answer any Five Questions

All questions carry equal marks.

----

1.a)	Explain about Bewley’s Lattice diagrams and also mention the uses of these diagrams.

b)	A line of surge impedance of 400 ohms is charged from a battery of constant voltage of 135volts. The line    is 300 meter long and is terminated in a resistance of 200 Ohms. Plot reflection lattice and the voltage across the terminating resistance.

2.	Explain clearly the meaning of resonant grounding. What are the requirements of the reactor in neutral connections of such grounding? Draw the connection of arc suppression coil.

3.a) 	Explain the terms (i) Preaching time (ii) arcing time  (iii) cut-off.

b) 	Describe the construction, principle of operation and application of an HRC fuse.

4. 	Explain resistance switching in detail with relevant diagrams and derive the expression of damped oscillation.

5.a) 	Explain how to provide directional feature of Impedance and Reactance relay. Explain why the directional feature provided for Impedance relay.

b) 	Explain why attracted armature type relays are noisy? What measures are take to minimize the noise.

6.a) 	Explain with necessary diagrams the operating principle a Rectifier bridge      phase comparator.

b) 	Why are block average phase comparator preferred over block spike phase comparator.

7.a)	Explain split –phase relaying protection of a three phase alternator with relevant diagram.

b)	Explain the % differential relay protection of star/delta transformer with relevant diagram, showing all essential details. Discuss its advantages over simple differential protection.

8.a)	Describe the method of protecting busbars by differential relaying.

b)	What are the limitations of this method and to what extent these can be overcome?

@@@@@