Code No. 321153

OR

III B.Tech. II-Semester Supplementary Examinations, November-2003

# Bio-Medical Equipment

(Bio-Medical Engineering)

Time: 3 hours							Max. Marks: 70

Answer any FIVE questions

All questions carry equal marks

---

1.a)	Explain about the principles, operation and calibration of flame photometer.

b)	Explain the principle and working of TMT.

2.	Explain the principle, operation and calibration of cell counter.

3.a)	Write about different heart sounds and their causes.

b)	Explain about phono cardiography with a neat sketch.

4.a)	Explain about Hystersis pacemaker.

b)	Explain the principles of Bladder stimulator.

5.a)	Explain about the principles of infusion pumps.

b)	List the Electrical and Biological Hazards due to ESUs.

6.	Write about the precautions to be taken to avoid various halyards in operation theatres.

7.a)	Explain about the principles of neonatal incubators.

b)	Write about the qualitative requirement of Heart lung machines.

8.	Write short notes on:

a) Pediatric ventilators

b) Chromatography.

@@@@@