Code No: 321105

Set No.

1

III B.Tech. II-Semester Supplementary Examinations, November-2003.

MEDICAL IMAGING TECHNIQUES

(Bio-Medical Engineering)

Time: 3 hours							   Max. Marks: 80

Answer any FIVE questions

All questions carry equal marks

- - -

1.	Explain the terms, pertaining to X-rays:

a)	Electromagnetic radiation

b)	Intensity of  beam

c)	Attenuation

d)	Interactions between X-rays and matter.

2.	Explain the terms regarding diagnostic X-rays:

a)	Angiography

b)	Fluoroscopy

3.	With respect to X-ray image, explain the terms:

a)	Spiral resolution

b)	Noise

c)	Contrast

d)	ROC

4.	Explain the principle of a pulse-echo systems.  Discuss its applications.  What are the biological effects of ultrasound?  Explain.

5.	Explain the fundamentals of radioactivity.  Describe the generation and detection of nuclear emission.

6.	With a schematic, explain the generation and detection of NMR signal.

7.	Discuss the following imaging methods:

a)	Spin-echo imaging.

b)	Gradient echo-imaging.

8.	Write short notes on:

a)	X-ray detector

b)	3-D reconstruction

c)	Dosimetry

d)	Fourier spectrum.

@@@@@

Code No: 321105

Set No.

2

III B.Tech. II-Semester Supplementary Examinations, November-2003.

MEDICAL IMAGING TECHNIQUES

(Bio-Medical Engineering)

Time: 3 hours							   Max. Marks: 80

Answer any FIVE questions

All questions carry equal marks

- - -

1.	With a block diagram, explain the generation of X-ras.  Write a note on conventional X-ray radiography.

2.	Explain with diagram the following terms:

a)	Conventional Tomography

b)	Computed Tomography

3.	Describe the following characteristics of an image:

a)	Ultrasonic texture

b)	Speckle reduction

c)	Transducer beam

d)	Tissue characterization.

4.	Regarding ultrasonic diagnostic methods; explain the term:

a)	Doppler methods

b)	Duplex methods

c)	Duplex imaging

5.	Discuss the characteristics of radio-nuclide images.

6.	Regarding NMR, explain the different imaging methods (atleast three).

7.	Explain the generation and detection of NMR signal.

8.	Write a note on:

a)	Image Subtraction

b)	P E T

c)	D S R.

@@@@@

Code No: 321105

Set No.

3

III B.Tech. II-Semester Supplementary Examinations, November-2003.

MEDICAL IMAGING TECHNIQUES

(Bio-Medical Engineering)

Time: 3 hours							   Max. Marks: 80

Answer any FIVE questions

All questions carry equal marks

- - -

1.	With respect to X-ray beam, explain the terms intensity and radiation.  Explain the biological effects of ionizing radiation.

2.	Regarding X-ray generation and detection, describe the following terms.

a) Filters				b) Grids

c) Intensifying screens		d) Detectors

3.	In detail explain any four characteristics of X-ray image.

4.	Explain the terms, with respect to acoustic propagation:

a) Attenuation		b) Refraction

c) Absorption		d) Scattering.

5.	Explain the generation and detection of nuclear emission.  Write a note on radiation detection.

6.	Describe the terms regarding radio nuclide images:

a) Internal radiation

b) Dosimetry

c) Biological effects.

7.	Explain the terms (regarding  NMR)

a) Blood Flow Imaging

b) NMR Spectroscopy

c) Imaging safety

8.	Write a note on:

a)	Spin density

b)	Longitudinal Section Radiography

c)	Mammography.

@@@@@

Code No: 321105

Set No.

4

III B.Tech. II-Semester Supplementary Examinations, November-2003.

MEDICAL IMAGING TECHNIQUES

(Bio-Medical Engineering)

Time: 3 hours							   Max. Marks: 80

Answer any FIVE questions

All questions carry equal marks

- - -

1.	Explain with necessary diagram the generation and defection of X-rays.

2.	In detail discuss the biological effects of ionizing radiation.

3.	Explain the terms:

a)	D S R

b)	Digital Radiography.

4.	Explain in detail the fundamentals of acoustic propagation.

5.	Explain the terms, regarding radio nuclide imaging:

a)	PET

b)	SPECT.

6.	Explain the characteristics of magnetic resonance images.  Write a note on NMR spectroscopy.

7.	Describe the terms

a)	Mammography

b)	Xero radiography

c)	Angiography.

8.	Explain the fundamentals of NMR.  Draw the fourier spectrum of NMR signal.  Write a note on pulse sequences and relaxation times.

@@@@@