Code No: 410255

OR

IV B.Tech. I-Semester Supplementary Examinations, November-2003

HIGH VOLTAGE ENGINEERING

(Electrical and Electronics Engineering)

Time: 3 hours							Max.Marks: 70

Answer any FIVE questions

All questions carry equal marks

----

1.a)	Describe the current growth phenomenon in a gas subjected to uniform electric fields.

b)	What will the breakdown, strength of air be for small gaps 1 mm and large gaps 20 cm under uniform field conditions and standard atmospheric conditions?

2.a)	Explain the streamer theory of break down in air at atmospheric pressure.

b)	Derive the criterion for breakdown in electronegative gases.

3.	Explain the various theories that explain breakdown in commercial liquid  dielectrics. What are commercial liquid dielectrics and how are they different from pure liquid dielectrics?

4.a)	Why is a Cockroft-Walton circuit preferred for voltage multiplier circuits? Explain its working with a schematic diagram.

b)	What is the principle of operation of a resonant transformer? How is it advantageous over the cascade connected transformers?

5.a)	Explain one method of controlled tripping  of impulse generators. Why is controlled tripping necessary?

b)	An impulse current generator has a total capacitance of 8 μF. The charging voltage is 2.5 KV. If the generator has to give an output current of 10 KA with 8/2o μs waveform. Calculate (i) the circuit inductance (ii) the dynamic resistance of the circuit.

6.a)	Give different circuits that produce impulse waves explaining clearly their relative merits and demerits.

b)	What is a Tesla coil? How are damped high frequency oscillations obtained from a Tesla coil?

7.a)	Give the basic circuit for measuring the peak voltage of (i) a c voltage and         (ii) Impulse voltage. What is the difference in measurement technique in the above two cases?

b)	Explain the different methods of high current measurements with their relative merits and demerits.

(Contd…2)

Code No:410255				:: 2 ::				 OR

8.a)	Explain the high voltage Schering bridge for the tan δ and capacitance measurements of insulators or bushings.

b)	Explain the method of impulse testing of high voltage transformers. What is the procedure adopted for locating the failure?

-*-*-*-