Code No.410352

OR

IV B.Tech. I-Semester Supplementary Examinations, November-2003

MECHANICAL MEASUREMENTS AND CONTROL SYSTEMS

(Common to Mechanical Engineering, Production Engineering, Mechanical Manufacturing Engineering and Mechotronics)

Time: 3 hours							Max.Marks:70

Answer any FIVE questions

All questions carry equal marks

---

1.	Explain briefly about the types of errors involved in measurement systems by 	giving suitable examples. Discuss the means adopted to reduce these errors.

2.a)	Give detailed classification of speed measuring devices with examples.

b)	Write short note on Induction Sensors for speed measurement.

3.a)	Differentiate between the thermo comples connected in series and parallel.

b)	Distinguish between RTD and thermistors.

4.a)	Draw a neat sketch of an ionization gauge. Explain the working principle of the 	gauge.

b)	With the aid of neat sketch of a Knudsen gauge, explain the working principle of 	the gauge.

5.	Explain the principle of operations of (a) Hot wire anemometer and (b) Turbine 	meter for the measurement of Fluid velocity.

6.a)	Explain the principle of a hydrometer.

b)	What is a vibrometer? Explain any one of them.

7.a)	Draw any four types of strain gauge arrangement for measuring strain.

b)	How resistive strain gauges are calibrated?

8.	Explain the following with suitable examples and block diagrams:

(a)  Temperature control

(b)  Speed control

***     ***     ***