Code No: 410207

Set No.

1

IV B.Tech. I-Semester Regular Examinations, November-2003

ELECTRICAL DISTRIBUTION SYSTEMS

(Electrical and Electronics Engineering)

Time: 3 hours							Max. Marks: 80

Answer any FIVE questions

All questions carry equal marks

---

- Discuss the objectives of distribution system planning.

2.a)	Explain the following terms

(i) maximum demand 	  (ii) coincident demand and 	(iii) non coincident demand.

b)	Explain following factors

(i) Contribution factor 	(ii) load diversity 	(iii) loss factor

3.	What are the various factors that are to be considered in selecting a primary feeder rating? Describe the arrangement with suitable diagram.

4.a)	What are the various factors that are to be considered in selecting substation location.

b)	Compare the four and six feeders patterns.

5.a)	In terms of resistance and reactance of the circuit, derive the equation for load power factor for which voltage drop is minimum.

b)	An unbalanced 3-phase star connected load is connected to a balanced 3-phase, 4-wire source. The load impedances ZR, ZY and ZB are given as 70∠300, 85∠−400 and 50∠350ohms per phase respectively and the phase ‘R’ line voltage has an effective value of 13.8KV. Use the line to neutral voltage of phase ‘R’ as the reference and determine the line and neutral currents and total real and reactive powers.

6.a)	What are the over current protective devices applied to distribution systems? Explain any one.

b)	Explain the salient points in general co-ordination procedure.

7.  	A 3-phase transformer rated 7000KVA and has a over load capability of 125% of the rating. If the connected load is 1150KVA with a 0.8 pf (lag), determine the following : i) The KVAR rating of shunt capacitor bank required to decrease the KVA load of the transformer to its capability level,  ii) the p.f. of the corrected level,  iii) the KVAR rating of the shunt capacitor bank required to correct the load p.f. to unity.

Contd…2

Code No. 410207					.2.			   Set No. 1

8.a)	How a shunt capacitor and reactors can control the voltage? List the disadvantages of using a shunt capacitor for voltage control.

b)	With the help of a phasor diagram, show how a series capacitor boosts the voltage? What are the drawbacks of this method?

###

Code No: 410207

Set No.

2

IV B.Tech. I-Semester Regular Examinations, November-2003

ELECTRICAL DISTRIBUTION SYSTEMS

(Electrical and Electronics Engineering)

Time: 3 hours							Max. Marks: 80

Answer any FIVE questions

All questions carry equal marks

---

1.	Explain the various factors affecting the distribution system planning.

2.a) 	What informations can be obtained from the load duration curve?

b) 	Explain the following factors

(i)   Demand factors 	(ii) Connected load

(iii) Utilization factor 	(iv) Plant factor

3.a)	What are the various factors that influence the voltage levels in the design and operation of the distribution system?

b)	A 3 phase radial express feeder has a line to line voltage of 22.0kv at the receiving end, a total impedance of 5.25+j10.95/phase, and a load of 5MW with a lagging power factor of 0.90. Determine the following:

(i)	The line to neutral and line to line voltages at the sending end.

(ii)	The load angle.

4.	Give a detailed analysis of square shaped and hexagonal shaped distribution substation areas.

5.  	Derive the voltage drop and power loss of non-three phase distribution systems and compare to the 3-phase balanced systems.

6.a)	Explain the principle of operation of fuse.

b)	Explain the coordination procedure between Reclosure and fuse.

7.  a)	Compare and explain the role of shunt and series capacitors in P.F. correction.

b)	A 400V, 50 cycles three phase line delivers 207KW at 0.8p.f. (lag). It is desired to bring the line p.f. to unity by installing shunt capacitors. Calculate the capacitance if they are i) star connected ii) delta connected.

8.a)	Write a short notes on any two methods of voltage control?

b)	Why Voltage control and p.f. correction are necessary in power systems? What are the disadvantages of low voltage and low p.f. of the system?

###

Code No: 410207

Set No.

3

IV B.Tech. I-Semester Regular Examinations, November-2003

ELECTRICAL DISTRIBUTION SYSTEMS

(Electrical and Electronics Engineering)

Time: 3 hours							Max. Marks: 80

Answer any FIVE questions

All questions carry equal marks

---

1.	Draw a block diagram in flow chart form for a typical distribution system planning process and explain the techniques for distribution planning.

2.a)  	At the end of a power distribution system, a certain feeder supplies three distribution transformer, each one supplying a group of customers whose connected loads are as under.

| Transformer | Load | Demand factor | Diversity |
| --- | --- | --- | --- |
| No.1 | 10kW | 0.65 | 1.5 |
| No.2 | 12kW | 0.6 | 3.5 |
| No.3 | 15kW | 0.7 | 1.5 |

If the diversity factor among the transformer is 1.3, find the maximum load on the feeder.

b)	Explain:  Load factor and diversity factor.

3.	Give the various loading and voltage level factors that influence the design and operation of primary feeders.

4.	How do you analyse a substation service area with ‘n’ primary feeders.

5.		Consider the single phase radial distributor shown in the following figure

the magnitude of load currents, p.fs and distances are indicated in the figure. The resistance and reactance of each wire are 0.1 ohm and 0.2ohms  per km respectively. It is required to maintain voltage at point B as 230∠00Volts, find

a)   voltage drop in the three sections

- total voltage drop in the feeder

- supply voltage, current and power factor

- KVA output of supply

The p.f. angles of individual loads are w.r.t. voltage at point B.

6.a)	Explain the principle of operation of circuit Re closure.

b)	Explain the coordination procedure between two fuses.

Contd…2

Code No. 410207					.2.			   Set No. 3

7.a)	Justify the importance of voltage control and p.f correction.

b)	A 3-phase, 50Hz, 2200V Induction Motor develops 400HP at a p.f. 0.8 lag and efficiency 90%. The p.f. is to be raised to unity by connecting a bank of condensers in delta cross supply mains. If each of the capacitance unit is built up of 4 similar 550V condensers, calculate the required capacitance of each condenser and its KVA rating.

8.a)	Briefly explain the line drop compensation on voltage control..

b)	How an AVB can control voltage? With the aid of suitable diagram, explain its function.

###

Code No: 410207

Set No.

4

IV B.Tech. I-Semester Regular Examinations, November-2003

ELECTRICAL DISTRIBUTION SYSTEMS

(Electrical and Electronics Engineering)

Time: 3 hours							Max. Marks: 80

Answer any FIVE questions

All questions carry equal marks

---

1.	Examine the present trend for the future distribution system planning.

2.a)	Explain how the load growth in a distribution system can be obtained.

b) 	A distribution substation experiences an annual peak load of 3,500kW.  The total annual energy supplied to the primary feeder circuits is 107 kWh.  Find (i) the annual average power (ii) the annual load factor

3.a)	How do you apply the concept of ABCD constants to radial feeders.

b)	Derive an equation for receiving end voltage.

4.a)	Derive K constant for the primary distribution feeder.

b)	What are the advantages of optimally located substation?

5. 	A single phase a.c. radial distributor one km long has resistance and reactance per conductor of 0.1ohm and 0.15ohms respectively. At the far end, the voltage VB=200V and the current 100Aat a p.f. of 0.8 lagging. At the mid point M of the distributor, a current of 100A is tapped at a p.f. of 0.6 lagging with reference to the voltage Vm at the mid point. Calculate

- voltage at the mid point

- sending end voltage VA

- phase angel between VA and VB

6.a)	Explain the principle of operation of line sectionalizer.

b)	Explain the coordination procedure between fuse and circuit breaker.

7.  a)	Explain the computerized method to determine the economic power factor.

b)	A feeder supplies an Industrial consumer with a cumulative load of (i) Induction Motors totaling 200HP which runs at an average efficiency of 89% and a lagging average p.f. of 0.85. (ii) Synchronous motors totaling 100HP with an average efficiency of 85% and (iii) a heating load of 100KW. The Industrial consumer plans to use the synchronous motors to correct its overall power factor. Determine the required p.f. of the synchronous motors to correct the overall p.f. at peak load to (i) unity (ii) 0.95 lag.

8.	Write a notes on need for maintaining good voltage profile in power systems and need to improve power factor?

###