Code No:411001

Set No.

1

IV B.Tech. I-Semester Regular Examinations, November-2003

ANALYTICAL INSTRUMENTATION

(Electronics and Instrumentation Engineering)

Time: 3hours								Max.Marks:80

Answer any FIVE questions

All questions carry equal marks

----

1.	With neat sketches explain the various methods for the measurement of electrolytic conductance.

2.a)	With neat sketch explain the dissolved oxygen electrode system.

b)	With neat sketch explain the construction of hydrogen gas electrode.

3.	How can co laser be used for the measurement of nitric oxide? Give a neat block diagram and explain the operation of each block clearly.

4.a)	With neat sketches, explain with detail Helium Ionization detector used in process gas chromatography system.

- Compare and contrast Liquid chromatography with Process gas chromatography?

5.	Explain the principle of Fourier transform spectrometry. How is it adopted in IR methods of analysis?

6.a)	Explain briefly about an atomic absorption Spectroscope.

b)	What are the problems of AAS?

7.a)  	Explain about the working principle of Spin-de-coupler with necessary block      diagram.

b)  		Explain briefly about sensitivity enhancement for analytical NMR   Spectroscopy.

8.	Explain the constructional details and principle of operation of

a) surface barrier detector. b) lithium drifted germanium detector.

!!!!!

Code No:411001

Set No.

2

IV B.Tech. I-Semester Regular Examinations, November-2003

ANALYTICAL INSTRUMENTATION

(Electronics and Instrumentation Engineering)

Time: 3hours								Max.Marks:80

Answer any FIVE questions

All questions carry equal marks

----

1.a)	What is pH? Explain the importance of pH measurement in process industries.

b)	Explain the principle of pH measurement.

c)	What is the role of buffer solution in pH measurement?

2.a)	Explain the constructional details of sodium analyzer.

b)	Discuss the various principles used in sodium analyzer.

3.a)	What is meant by chemiluminescence?

b)	Explain how chemiluminescence can be used to estimate nitrogen oxides of the sample.

4.	Explain the terms relative efficiency, selectivity and resolution of chromatographic columns in detail?

5.a)	Distinguish between calorimeters and photometers.

b)	Briefly explain the absorption spectrometer for visible range using single beam approach.

6.a)	Briefly explain the double beam type atomic absorption spectroscope with a block diagram.

b)		Briefly discuss about the detectors

7.	With needed schematic diagram, describe the working and principle of time of flight mass Spectrometer.

8.a)	Compare the merits and demerits of Geiger and proportional counter.

b) 	What is a pulse height discriminator? Explain .Why it is used along with a proportional counter?

!!!!!

Code No:411001

Set No.

3

IV B.Tech. I-Semester Regular Examinations, November-2003

ANALYTICAL INSTRUMENTATION

(Electronics and Instrumentation Engineering)

Time: 3hours								Max.Marks:80

Answer any FIVE questions

All questions carry equal marks

----

1.   	With necessary diagrams briefly discuss the various types of electrodes used in pH measurement.

2.  	With necessary diagrams explain the construction and working principle of  silica analyzer.

3.a)	Explain the principle of operation of a paramagnetic oxygen analyzer?

b)	Describe in detail, how Galvanic method can be used to determine oxygen concentration of a gas.

4.a)	With neat sketches, explain with detail infrared detector used in liquid chromatography system.

b)	With neat sketches, explain with detail electrochemical detector used in liquid chromatography system.

5.a)	Explain briefly the principle and operation of UV/ visible spectrometer  using Littrow

prism.

b)	Explain how the instrument is calibrated

6.a)	Explain the operation of  multi channel type instrument to calculate focal length     		of a monochromator.

b)	 If the order used in an echelle grating is 70 and a dispersion angle 600, groove     	density 80 / mm and focal length 0.5 m, obtain the reciprocal linear dispersion and     	resolution.

7.a)  	Write down few applications of mass spectrometer.

b) 	Write short notes on one of its specific applications.

8.	Write short notes on:

a)	Gas amplification gain.								 b)	Geiger range.										 c)	Unit which is used to describe the value of radio activity.

!!!!!

Code No:411001

Set No.

4

IV B.Tech. I-Semester Regular Examinations, November-2003

ANALYTICAL INSTRUMENTATION

(Electronics and Instrumentation Engineering)

Time: 3hours								Max.Marks:80

Answer any FIVE questions

All questions carry equal marks

----

1.	With schematic diagram explain the following pH meter.

a)	Null – Detector type pH meter

b)	Direct reading pH meter

2.a)	Explain about hydrogen purity meter by using thermal conductivity method

b)	Explain how thermal conductivity of hydrogen different from other gases

3.	Compare and list out the merits and demerits of non-dispersive infrared analyzer over gas chromatography in carbon monoxide estimation.

4.	Discuss the various problems which arise in using a poorly packed liquid chromatography column?

5.	What is a spectrophotometer and explain a typical UV/ visible spectrometer using double beam.

6.a)	Briefly outline the three techniques of atomization.

b)	Compare the three techniques of atomization

7.a) 	Explain about the general principle of operation of a mass Spectrometer with  neat  diagram.

b)	 With needed schematic diagram, explain about magnetic mass Spectrometer.

8.  	With a neat schematic diagram , explain the constructional details of well type

scintillation counter .What are its merits?

!!!!!