Code No:411055

OR

IV B.Tech. I-Semester Supplementary Examinations, November-2003

ANALYTICAL INSTRUMENTATION

(Electronics and Instrumentation Engineering)

Time: 3hours								Max.Marks:70

Answer any FIVE questions

All questions carry equal marks

----

1.a)	What is pH? Explain the importance of pH measurement in process industries.

b)	Explain the principle of pH measurement.

c)	What is the role of buffer solution in pH measurement?

2.a)	Explain the constructional details of sodium analyzer.

b)	Discuss the various principles used in sodium analyzer.

3.a)	What is meant by chemiluminescence?

b)	Explain how chemiluminescence can be used to estimate nitrogen oxides of the sample.

4.	Explain the terms relative efficiency, selectivity and resolution of chromatographic columns in detail?

5.a)	Distinguish between calorimeters and photometers.

b)	Briefly explain the absorption spectrometer for visible range using single beam approach.

6.a)	Briefly explain the double beam type atomic absorption spectroscope with a block diagram.

b)		Briefly discuss about the detectors

7.	With needed schematic diagram, describe the working and principle of time of flight mass Spectrometer.

8.a)	Compare the merits and demerits of Geiger and proportional counter.

b) 	What is a pulse height discriminator? Explain .Why it is used along with a proportional counter?

!!!!!