Code No.412104

Set No.

1

IV B.Tech. I-Semester Regular Examinations, November-2003

EXPERIMENTAL STRESS ANALYSIS

(Aeronautical Engineering)

Time: 3 hours							Max.Marks:80

Answer any FIVE questions

All questions carry equal marks

---

1.a)	Write a note on the propagation of error during the course of an experimental 	investigation.

b)	Explain whether a measuring system should be

- Stable

- Sensitive or

- Accurate

for the good health of the utilization of such system.

2.a)	What are the factors which call for re-calibration of a measuring system from time 	to time. Elaborate with examples.

b)	Write a note on the method of least squares for finding a good straight line 	representation of y = f(x) from a given set of experimental observations.

3.	Write notes on

a)	Pneumatic strain gauges

b)	Acoustic strain gauges

4.	Make use of neat sketches to illustrate the principle and functioning of a 	Huggenbenger extensometer.

5.	Explain with theory, the use of three element rosette for determination of stress 	field in a plane under loading.

6.	Write a detailed note on the photoelastic technique of stress analysis for structures 	under loading. Also describe in brief

- The photo elastic materials

- Model preparation

- The light source

- Interpretation of results.

7.a)	Describe Eddy-Current technique of testing a built-up metallic structure. Does it 	find application in aircraft industry?

b)	Write a note on Holographic interferrometry.

8.a)	Describe Stress-Optic relationship in 2-D case.

b)	Describe Fluorescent dye penetration technique. Where does it find application in 	aircraft industry?

***     ***     ***

Code No.412104

Set No.

2

IV B.Tech. I-Semester Regular Examinations, November-2003

EXPERIMENTAL STRESS ANALYSIS

(Aeronautical Engineering)

Time: 3 hours							Max.Marks:80

Answer any FIVE questions

All questions carry equal marks

---

1.a)	What are the requirements for conducting a good and reliable experiment for 	generating acceptable data and results.

b)	Describe Random or Accidental errors creeping in during the conduct of an 	experiment. What are the steps to avoid such mistakes.

2.a)	Describe the basic methods of measurements, along with their relevant merits.

b)	Why is calibration of a system necessitated after certain time internal. Elaborate.

3.	Describe with a detailed sketch principle and working of a Tackerman optical 	extensometer. What are its added advantages?

4.	Explain with a detailed diagram, the arrangement of a simple resistance bridge for 	strain measurements of a tensile specimen under test. What is the improvement 	suggested in this case.

5.a)	Describe an arrangement for calibration of a bonded strain gage on a specimen 	under test.

b)	Describe applications of strain gauges in various engineering measurement 	systems.

6.a)	What are the properties of an ideal photo-elastic material. Discuss in brief.

b)	Describe various steps in preparing a model for testing by photo-elastic technique.

7.a)	Describe largely used non-destructive test on the structure of an all metal aircraft. 	What new techniques are now available?

b)	Describe in brief Holographic Interferrometry.

8.	Write notes on:

a)	Stress-optic relationship in 2-D case

b)	Fluorescent dye penetration testing technique.

***     ***     ***

Code No.412104

Set No.

3

IV B.Tech. I-Semester Regular Examinations, November-2003

EXPERIMENTAL STRESS ANALYSIS

(Aeronautical Engineering)

Time: 3 hours							Max.Marks:80

Answer any FIVE questions

All questions carry equal marks

---

1.a)	What is calibration and how is an instrument calibrated for reliable results? 	Explain with an example.

b)	What are the basic characteristics of a beam balance? Explain with examples, is it 	applicable to all analog type of instruments?

2.a)	What are different types of errors, coming across during the 	measurements/performing of an experiment in a laboratory? Could you 	systematically 	classify such errors?

b)	What are the required steps for the designing of an experiment in a laboratory? 	Elaborate with an example.

3.a)	What is understood by the instrument ‘Extensometer’? Explain its undertying 	principle, with an example.

b)	Describe an extensometer making use of optical gauges.

4.a)	Explain the principle behind the use of strain gauges in details.

b)	Name and explain the application of strain gauges in measuring lift, drag and 	trutching moments of a lifting body in a wind tunnel.

5.	Make use of strain gauges and appropriate supporting instrumentation for plotting 	deflection curve of a cantilever beam under loading. Design the set-up and 	explain the methodology for performing this experiment.

6.	Explain the principle behind the experimental technique, photo elasticity. What 	are its relevant merits and applications in the analysis of stresses/strains of 	experimental models in a laboratory?

7.a)	Describe Ultra-Sonic testing technique in NDT, used in aircraft industry.

b)	Explain the principle behind dye-penetration technique used in aircraft industry.

8.	Write notes on:

a)	Eddy current testing

b)	Radiographic testing

***     ***     ***

Code No.412104

Set No.

4

IV B.Tech. I-Semester Regular Examinations, November-2003

EXPERIMENTAL STRESS ANALYSIS

(Aeronautical Engineering)

Time: 3 hours							Max.Marks:80

Answer any FIVE questions

All questions carry equal marks

---

1.a)	What is systematic error in the course of an experiment? How to detect and avoid 	this category of error?

b)	Define the term ‘accuracy’ in performing/conducting an experiment. Is it a 	function of the scale reading of instrument? Discuss.

2.a)	How will you pick up an instrument from the available lot for your experiment, 	which you have designed for yourself. Explain the guide lines for your selection.

b)	What is understood by the terms uncertainty, and its propagation, during the 	course of experimental works/investigations.

3.	Describe a Huggenberger Extensometer with a neat sketch. Explain its use with 	underlying principle.

4.	Describe with a neat sketch, the principle and details of linear variable 	differential transformed for the measurement of displacement.

5.a)	Develop basic relation for Resistance-type strain gauge from the first principle.

b)	What are the factors for selection and installation of bonded metallic strain 	gauges?

6.	Describe a Wheatstone bridge, used in measuring unknown resistance, with 	description of circuit. Hence discuss methods of balancing d.c. resistance bridge.

7.	Describe the photo elastic technique for measurement and analysis of stress-	patterns developed in a circular dise with central hole, under compressive loading, 	(2-D case).

8.	Write notes on:

a)	Brittle Lacquer coating technique

b)	Moire Fringe technique

***     ***     ***