Code No.410457

OR

IV-B.Tech. I-Semester Supplementary Examination November 2003

PRINCIPLES OF BIO-MEDICAL INSTRUMENTATION

(Electronics and Communication Engineering)

Time: 3 hours							Max.Marks:70

Answer any FIVE questions

All questions carry equal marks

---

1.a)	Draw the wave-form for the active potential and explain the same.

b)	 Explain the terms relative refractory period and absolute refractory period.

2.a)	Explain  about the non -electrical systems of the heart .

b)	What are the functions of SA node and AV node?

3.a) 	Discuss the significance of time constant, damping coefficient and frequency

response with respect to biomedical transducers.

b) 	What are active and passive transducers?

4.a)	Discuss the physiological phenomena responsible for the generation of EMG signal.

- Give the normal amplitude  and frequency range of the EMG signal .

5.a)	Derive the relationship between the standard limb leads and the augmented limb leads.

- Discuss the interpretation of any four abnormalities diagnosed using ECG, giving      the waveforms in each case.

6.a) 	Describe various types of EEG frequency responses  and explain their    significance.

- What is the difference between a normal and evoked response.

7.a)	 Explain the fibrillation and defibrillation in the heart and hence explain the need  for defibrillation with neat circuit diagrams.

b)	 Discuss the computer analysis of ECG.

8.a)	Explain the types of leakage currents.

b)	What are the precautions to be taken to minimize electric shock hazards?

-x-