Code No:411102

Set No.

1

IV B.Tech. I-Semester Regular Examinations, November-2003.

LASERS AND FIBER OPTICS IN MEDICINE

(Bio-Medical Engineering)

Time: 3 hours							Max. Marks: 80

Answer any FIVE questions

All questions carry equal marks

- - -

1.	Explain how the treatment of corneal ulcers is carried out using laser.  Give the properties of laser radiation.

2.	Describe the principle used in Laser Raman spectroscopy.  Give the block schematic.  Where do we use this?

3.	Discuss the advance reactions to laser treatment.  Explain the principle of energy levels of laser.

4.	In detail explain the applications of fiber optics in gastroenterology.  Write a note on gastroscope.

5.	Explain the structure and construction of Ruby laser.  What is the principle used here?  Explain.  Mention its application.

6.	Explain the construction details of optical fiber.  Describe how it is used in surgery.  Explain how it is used with laser.

7.	Discuss the use of laser methods in dentistry.  Explain the effects of laser on dental soft tissues.

8.	Explain the terms:

(a) Argon Ion Laser

(b) Photo Biology.

- - -

Code No:411102

Set No.

2

IV B.Tech. I-Semester Regular Examinations, November-2003.

LASERS AND FIBER OPTICS IN MEDICINE

(Bio-Medical Engineering)

Time: 3 hours							Max. Marks: 80

Answer any FIVE questions

All questions carry equal marks

- - -

1.	Describe the method of use of lasers in ophthalmology.  Give specific application (Explain).

2.	Discuss in detail the characteristics of laser.  Explain the properties of laser radiation.

3.	Explain the treatment using laser in dermatology.  What are the after effects that occur and how to overcome that?  Explain.

4.	What is an endoscope?  Explain the principle used in endoscope.  In detail discuss the applications of endoscope.

5.	Explain the instrumentation of CO2 laser.  Discuss any two applications of CO2 laser with optical fibre in the medical field.

6.	Pertaining to dentistry laser Explain :

(a) Laser induced carrier inhibition

(b) Laser effects on soft tissues.

7.	Discuss the laser hazards, safety precautions taken and protection standards maintained during treatment.

8.	Explain the terms:

(a) Bronchoscope

(b) Optical fibre

(c) Laser energy

(d) Laser fluorescence.

- - -

Code No:411102

Set No.

3

IV B.Tech. I-Semester Regular Examinations, November-2003.

LASERS AND FIBER OPTICS IN MEDICINE

(Bio-Medical Engineering)

Time: 3 hours							Max. Marks: 80

Answer any FIVE questions

All questions carry equal marks

- - -

1.	Describe the terms:

(a) Laser photo coagulators

(b) Use of laser in diagnostics.

2.	Explain the terms:

(a) laser refractor

(b) laser acuity

(c) laser monochromatricity

(d) laser energy levels.

3.	Explain the principle, structure and construction of endoscope.  Discuss its applications in the medical field.

4.	Discuss the different types of laser and their surgical applications.

5.	What are the protection standards used during laser treatment?  Explain.  Write a note on medical surveillance.

6.	Describe the transmission of light and signals through an optical fibre.  Explain the use of optical fibre in gastroenterology.

7.	Explain the use of laser in the field of dentistry.  Which types of lasers are used and pick the best one and explain its principle of use.

8.	Write short notes on:

(a) ND-YAG laser

(b) Adjusant agents

(c) Photo medicine.

- - -

Code No:411102

Set No.

4

IV B.Tech. I-Semester Regular Examinations, November-2003.

LASERS AND FIBER OPTICS IN MEDICINE

(Bio-Medical Engineering)

Time: 3 hours							Max. Marks: 80

Answer any FIVE questions

All questions carry equal marks

- - -

1.	Explain the following terms pertaining to LASER.

(a) Energy  (b) Diffraction   (c) Coherence  (d) Monochromatricity                      (e) Definition of Laser  (f) Laser radiation.

2.	Regarding applications of Laser, write a note on:

(a) Dermatology

(b) Photocoagulators.

3.	Using laser mechanism, explain the structure of a cell, its function and various energy levels.

4.	What is optical fibre?  Explain its structure and construction.  How light is transmitted through the fibre?  Explain.  What are its advantages over other forms of transmission.  Mention two applications (non-medical).

5.	Explain the construction of CO2 laser.  What is the principle used?  Describe one application in detail.

6.	Discuss the hazards of laser.  Mention the safety measures to be carried out.

7.	Describe the following:

(a) Medical Surveillance

(b) He-Neon Lasers.

8.	Explain the terms:

(a) Bronchoscope

(b) Photo medicine.

- - -