Code No: 410857

OR

IV-B.Tech., I-Semester Supplementary Examinations, November-2003

ENVIRONMENTAL ENGINEERING

(Chemical Engineering)

Time: 3hours								Max.Marks:70

Answer any Five questions

All questions carry equal marks

----

1.	What are the ill effects of surfactants and nitrogen bearing wastes on receiving streams?

2.	What is meant by two-film theory? How will you make use of this concept in oxygen solubility in water?

3.a) 	In a coal fired boiler 250 tons of coal (4.2% S) was burned per day which emits flue gases with a velocity of 15 m/s, with a particulate concentration of            6500 mg/m3. Estimate a maximum stack height required. The total flue gas flow was 20 m3/s. (H = 14 x qO3, H = 74 x qO.27).

b) 	Explain the mobile and line source modelling.

4.a) 	What are the types of control equipment used for the control of particulate matter?

b) 	Explain the mechanism for the removal of particulate matter using gravitational 	settling

5.	Briefly discuss the removal of sulphur from the gases using

(a)	Alkalized alumina process

(b)	Manganese oxide process.

6.	Explain in brief the various control techniques to be adopted to reduce emissions of pollutants from a fertilizer plant.

7.	Discuss the theory of activated sludge process and explain the sequence of operations with a flow diagram.

8.	Write short notes on any three of the following:

a) Screening	b) Sedimentation   	c) Flotation 	d) Neutralization.

###