Code No: 411057.

OR

IV B.Tech. I-Semester Supplementary Examination November 2003

POWER PLANT INSTRUMENTATION

(Electronics and Instrumentation Engineering)

Time: 3 hours							Max.Marks:70

Answer any FIVE questions

All questions carry equal marks

---

1.	What is the basic principle involved in solar power generation? Explain in detail.

2.	Explain the importance of instrumentation in thermal power plant.

3.	Mention the types of frequency meters and explain the principle of operation of 	electrical resonance type with a neat diagram.

4.	Explain in detail how steam pressure is measured in power plant.  What are the 	sources of error and how compensation can be provided?

5.	With the help of neat sketch explain the working of fire tube boiler.

6.	Explain in detail about interlocks in boilers used in power plants.

7.	Explain hydrogen generator cooling system.

8. 	Describe with a neat schematic sketch, the principle and constructional details of thermal conductivity type oxygen analyzer.

~ ~ ~ ~