Code No:410452

OR

IV B.Tech. I-Semester Supplementary Examinations, November-2003.

ELECTRONICS MEASUREMENTS AND INSTRUMENTATION

(Electronics and Communication Engineering)

Time: 3 hours							Max. Marks: 70

Answer any FIVE questions

All questions carry equal marks

- - -

1.a)	Define the terms accuracy, precision, sensitivity and resolution in measurement system. Explain with simple examples.

b)	What are the different errors that can occur in the measurement. Discuss in detail.

2.a)	Explain about true RMS-Responding voltmeter.

b)	Explain about Dual Slope Integrating Type DVM.

3.a)	Explain how do you measure frequency and time using the Universal Counter.

b)	Explain about harmonic distortion. How do you measure the distortion factor in the meter.

4.a)	Describe the operation of a Kelvin’s bridge, and  compare with Kelvin’s Double bridge.

b)	Explain how do you measure the unknown inductance of coil using Hay’s Bridge.

5.a)	Explain the working principle CRO.

b)	Explain the principle of operation of spectrum analyzer.

6.a)	Discuss clearly about X-Y plotter with neat sketch.

b)	Explain about the dual trace and dual beam CRO.

7.a)	Explain the operation of LVDT.

b)	Explain about any two transducers which measures the temperature.

8.	Write short notes on the following:

(a)	Ramp Type DVM.

(b)	10:1 CRO probe.

(c)	Piezoelectric Transducer.

-*-*-*-