Code No: 410304

Set No.

1

IV B.Tech. I-Semester Regular Examinations, November-2003

POWER PLANT ENGINEERING

(Mechanical Engineering)

Time: 3 hours							Max. Marks: 80

Answer any FIVE questions

All questions carry equal marks

---

1.	Draw a chart showing operations and devices used in coal handling plant

2.	Explain direct and indirect dry cooling system with neat sketches

3.a) 	In what fields Diesel electric power plants are used?

b) 	What are the essential components of Diesel electric plants? Explain.

4.	What are the various factors to be considered in selecting the site for a hydro        electric power plant?

5.a)	 Explain the basic principle of thermo electric power generation

b)	 Explain Thermo electric conversion system with a neat sketch

6.	With a neat sketch explain the working of a simple constant pressure gas turbine. Mention its advantages and disadvantages.

7. a)   	Explain the difference between chemical and nuclear reaction?

b)  	Write short note on boiling water reactor.

c)  	How waste is disposed off in a nuclear power station?

8. a)   	What are the capital costs to be considered for cost analysis

b)	The maximum demand of a factory is 250 kw and annual load factor is 50 percent. This load is to be supplied by a diesel plant costing Rs.400 per kw. and having a running cost for fuel and oil of 6 paise per kWh generated. Rate of interest and depreciation on diesel engine plant is 10 % . The wages of the operating staff per year are Rs.5000. Calculate the total annual cost of providing this supply.

###

Code No: 410304

Set No.

2

IV B.Tech. I-Semester Regular Examinations, November-2003

POWER PLANT ENGINEERING

(Mechanical Engineering)

Time: 3 hours							Max. Marks: 80

Answer any FIVE questions

All questions carry equal marks

---

1.	Discuss the relative merits of different out plant coal handling

2.	Obtain an expression for the draught produced by a chimney and condition for Maximum discharge.

3. a) 	Give a general layout of Diesel power plants and describe.

b) 	What are the different systems used in a Diesel power plant? Explain

4.	Explain in detail the classification of hydro electric power plant.

5. a)	What is the basic difference between thermo electric and thermionic conversion              systems?

b)	Explain the working of thermionic system with neat sketch and explain the effects of these factors which control power generation capacity.

6.	Describe the working of a closed cycle gas turbine power plant. Mention its    advantages and disadvantages.

7. a)   	What are fission fragments and fission products?

b)  	What is nuclear reactor? Describe the various parts of a nuclear reactor.

c)  	What are the main difficulties in handling radioactive waste?

8.a) 	What is the difference between demand factor and diversity factor

b)	The annual peak load on a 30 MW power station is 25 MW. The power station supplies load having maximum demands of 10MW, 8.5 MW, 5 MW and 4.5 MW. The annual load factor is 45 % find.

i) Average load

ii) Energy supplied per year

iii) Diversity factor

iv) Demand factor

###

Code No: 410304

Set No.

3

IV B.Tech. I-Semester Regular Examinations, November-2003

POWER PLANT ENGINEERING

(Mechanical Engineering)

Time: 3 hours							Max. Marks: 80

Answer any FIVE questions

All questions carry equal marks

---

1.	Describe different types of coal conveyors

2.	Draw a neat diagram of cyclone burner and explain its outstanding features

3.	Describe the following systems in brief with respect to Diesel Power Plant.

i)    Fuel storage and supply system                                                                   		 ii)  Exhaust system                                                                                           		 iii) Lubrication system

4.a)	Explain the terms catchment area, rain fall and run off.

b)	Explain the arrangement of the components of a hydro electric power plant with a neat sketch.

5.	Write short notes on

a) Thermionic emission types and

b) Materials used in these convertors.

6.	What are the different methods used to improve the thermal efficiency of the open cycle gas turbine plant? Draw and explain   with neat sketches.

7. a)   	Explain a fission chain with an example?

b)  	What are different types of reactors commonly used in nuclear power plant?

c)  	Write short notes on Pressurized water reactor.

8. a) 	Explain the following terms as applied to power system.

i) Demand factor 	ii) Connected load   (iii) Maxi demand

iv) Capacity factor 	v) use factor

b) 	A power station said to have a use factor of 47% and capacity factor of 40 %. How many hours did it operate during the year?

###

Code No: 410304

Set No.

4

IV B.Tech. I-Semester Regular Examinations, November-2003

POWER PLANT ENGINEERING

((Mechanical Engineering)

Time: 3 hours							Max. Marks: 80

Answer any FIVE questions

All questions carry equal marks

---

1.	Describe the hydraulic ash handling system

2.	Explain multi – retort underfeeds stroker with a neat diagram.

3. 	Describe the following system in brief with respect to Diesel Power Plant.

i) Air supply system                                                                                         		ii) Starting system				                                                     		iii) Governing system

4.	Describe with a neat sketch the working principle of a hydro electric power plant layout and its operation.

5.a)	Define the figure of merit and show its effect on the efficiency of the thermo electric power plant taking source temperature as a parameter.

b)	List out the advantages and disadvantages of thermoelectric type of Generators.

6.	 What are the different components used in a gas turbine plant? Explain in detail

7. a)   	Explain the function of a moderator. What is the criterion of its effectiveness?

b)  	What are the different fuels used in nuclear power plants.

c)  	Describe a Homogeneous reactor.

8.a) 	Write short notes on

- Economics in plant section.

- Power plant capacity

b) 	Calculate the unit cost of production of electric energy for a power station for the          	following data.

Capacity = 50 MW,   		Interest and depreciation = 10 %

Cost per kw = Rs.600		Cost of fuel, taxation and salaries = Rs.36 x 105

Load factor = 40 %

###