Code No. 410253

OR

IV B.Tech. I-Semester Supplementary Examinations, November-2003

POWER SYSTEMS-III

(Electrical and Electronics Engineering)

Time: 3 hours							         Max. Marks:70

Answer any Five questions

All question carry equal marks

- - -

1.a)	What is a traveling wave? Explain the development of such a wave on an over head transmission line.

b)	An over head line with surge impedance 400 ohms bifurcates into two lines of surge impedance 400 ohms and 40 ohms respectively. If a surge of 20 KV is incident on the overhead line, determine the magnitudes of voltage and current which enter the bifurcated lines.

2.a)	Describe with the help of a neat diagram, the working principle of a surge diverter.

b)	Explain the elementary idea of insulation co-ordination with illustration.

c)	What is Peterson coil? Why is this required?

3.a)	With a neat diagram, explain the operation of valve type lightning arrestor.

b)	Describe and compare the following methods of neutral grounding:

(i)	Solid grounding		(ii)	Resistance grounding.

4.a)	Describe the construction, principle of operation and application of HRC fuse.

b)	Describe the construction and principle of operation of SF6 circuit breaker.

5.a)	Explain with regard to working and application, the difference between air blast and minimum oil circuit breaker.

b)	What is universal torque equation? Using this equation, develop the following characteristics.

(i)	Impedance relay and	(ii)	mho relay.

Draw their characteristics showing zero of operation and non-operation.

6.a)	Discuss the advantages of solid state relays compared with electromechanical relays. What are the limitations of relays based on solid- state devices and how are they over come?

b)	Describe the protective scheme for loss of excitation of a turbo-generator.

Contd…2

Code NO. 410253				-2-					OR

7.a)	Explain the principle of differential protection. Show by neat sketches, how it can be applied to generator protection.

b)	A 400 Volts delta/33 KV star power transformer is protected by the differential protectve scheme. The CTs on 400 volts side have a ratio of 1000/5 A. Determine what should be the ratio of CTs on the H.V.side.

8.	Write short notes on the following:

(a)	Testing of circuit breakers.

(b)	Power and directional relays.

(c)	Protection of bus bars.

^^^