Code No.410254

OR

IV-B.Tech. I-Semester Supplementary Examination November 2003

INSTRUMENTATION

(Electrical and Electronics Engineering)

Time: 3 hours							Max.Marks:70

Answer any FIVE questions

All questions carry equal marks

---

1.a)	Describe use of synchros and their construction.

b)	Describe LVDT accelerometer.

2.a)	Describe photovoltaic cell and its applications.

b)	Describe hot-wire anemometer.

3.a)	Distinguish between thermistors and thermocouples.

b)	How are transducers classified?

4.a)	Explain Q-meter.

b)	Describe typical electromechanical system with example.

5.a)	Explain temperature compensation.

b)	Explain tachometer method of measuring speed.

6.a)	Describe a digital storage oscilloscope.

b)	Explain a typical fluidic system with example.

7.a)	Describe photoconductive cells and their applications.

b)	Describe construction and operation of spectrum analysers.

8.	Write notes on the following:

a)	Signals and their representation

b)	Selection of transducers.

***     ***     ***