OR

Code No.411054

IV B.Tech I Semester Supplementary Examinations, November-2003

PNEUMATIC INSTRUMENTATION AND FLUIDIC

(Electronics and Instrumentation Engineering)

Time: 3 hours							Max. Marks:70

Answer any Five questions

All questions carry equal marks

- - -

1.	Define and discuss the following and also state some examples.

(a)  Compressible fluids     (b)   Incompressible fluids.

2.a)	Discuss the advantages and disadvantages of pneumatic instruments.

b)	Distinguish between pneumatic instruments and electronic instruments.

3.	What are the various pneumatic cylinders used to control speed? Discuss them 	briefly.

4.a)	What are the P/I converters and I/P  converters?  Discuss their importance.

b)	Briefly discuss about pneumatic control system.

5.	Discuss the construction and characteristics of the following :

(a)   Air filters    (b)  Regulators

6.	What are the directional control valves and quick exhaust valves? Discuss their 	advantages and limitations. Enumerate the differences between them.

7.	What are fluidic logic circuits? Discuss the different types of fluidic logic circuits.

8.	Write short notes on the following:

a)   Use of microprocessors in pneumatics.

b)   Principles of fluidics.

c)    Pneumatic transmitters.

-x-