Code No: 410851

OR

IV-B.Tech. I-Semester Supplementary Examinations November, 2003

PROCESS DYNAMICS AND CONTROL

(Chemical Engineering)

Time: 3 Hours							Max. Marks: 70

Answer any Five questions

All questions carry equal marks

---

1.a)	Derive an expression for the dynamic response of a first order system for step change in input.

b)	A mercury thermometer having first order dynamics with a time constant of         60 sec. is placed in a temperature bath at 35o C.  After the thermometer reaches its steady state, it is suddenly placed in a bath at 40oC at time t = 0.  Calculate the variation of temperature with time for a period of 60 sec. considering an incremental time of 10 sec.

2.a)	What is the general characteristic equation of a second order system.  Explain the stability of the system interms of its roots.

b)	A second order system is given by d2xdt2 + 5 dxdt +bx =0 What are the values of time constant and damping coefficient.  Is it an over damped, under damped or critically damped system.

3.	A PID controller is at steady state with an output of 0.5 kg/cm2.  The set point and pen point are together at time t = 0.  Afterwards, the set point is moved away from the pen point at a rate of 1.5 cm/min.  If the knob settings are                                Kc = 0.1 kg/sq. cm/cm of pen travel, I = 1.25 min. and D = 0.4 min., plot the output response with time.

4.a)	Define the set point and load disturbances in a feedback loop.  What are the different load disturbances experienced by chemical process systems.

b)	Determine the transfer functions C/R and C/U for the system shown in figure.

Contd….2.

Code No: 410851				:: 2 ::					OR

5.	Sketch the root locus of the following function explaining the stepwise procedure, 1 + Ks(s+1) (2s+1) = 0.

6.a)	How do you find the frequency response of a transfer function.  Define the magnitude and phase angle.

b)	State and explain Bode stability criterion.

7.a)	How do you determine the stability of a system by Routh test.

b)	Determine the open loop stability using Routh stability criteria for the three CSTR tank system represented by the transfer function G (s) = 18(s+1)3.

8.	Write a short note on the following:

a) Feed forward control

b) Process identification.

@@@@@