Code No: NR-211001

Set No.

1

II B.Tech. I-Semester Supplementary Examinations, November-2004

ELECTRICAL TECHNOLOGY

(Common to Electronics and Instrumentation Engineering, Electronics and Control Engineering, Bio-Medical Engineering)

Time: 3 hours							    Max Marks: 80

Answer any FIVE Questions

All Questions carry equal marks

- - -

1. a)	Why do Iron losses occur in a D.C. Machine?

b)	Mention the factors on which Iron losses in the armature of a D.C. Machine depend upon. How these losses are reduced?

c)	A d.c. machine is rated at 5kw, 250V, 2,000rpm. The armature resistance Ra is 1. Driven from the electrical end at 2,000rpm the no-load power input to the armature is Ia = 1.2A at 250V with the field winding (Rf = 250) excited by               If = 1A. Estimate the efficiency of the machine as a 5kw generator.

2. a)	Compare the different methods of speed control of a D.C. Shunt Motor?

b)	What is the application of divertors provided D.C. Motors?

c)	A 250V shunt motor has an armature current of 20A when running at 1000rpm against full-load torque. The armature resistance is 0.5. What resistance must be inserted in series with the armature to reduce the speed to 500rpm at the same torque, and what will be the speed if the load torque is halved with this resistance in the circuit. Assume the flux to remain constant throughout and neglect brush contact drop.

3. a) 	Draw the phasor diagram of transformer under loaded conditions.

b) 	Explain the principle of working of 1-Phase transformer on no-load conditions.

Also explain the nature of no-load current.

4. a) 	Why is the efficiency to be maximum and regulation to be zero in transformers?

b) 	A 250 kVA, 10000 / 400 V, single phase, 50 Hz, transformer gave the following test results. Open circuit test on LV side a normal voltage and frequency input 1.2 kW, 21 amp; short circuit test HV side with voltage 500 V, input 2.5 kW, rated current circulated. Calculate the efficiency and regulation for full load 0.8 power factor lagging.

(Contd…2)

Code No: NR-211001.			.. 2 ..			  	        Set No: 1

5. a) 	Draw the torque-speed characteristics of a 3-phase induction motor and mark stable and unstable regions.

b) 	A 3-phase, 4-pole, 60 kW, 50 Hz induction motor connected to rated supply voltage and running without load consumes 3 kW. When prevented from rotating it draws rated current at 30% rated supply and takes a power input of 4 kW Assuming that under rated load conditions, the stator and rotor copper losses are equal and that the mechanical losses are 30% of the no-load losses, determine    (i) slip, at rated load and (ii) starting torque of the motor with rated applied voltage.

6. a)	Explain the tests to be conducted for determining synchronous impedance.

b) A 100KVA, 6.6KV, 3phase star connected synchronous generator has a synchronous reactance of 25 ohm per phase. It supplies full load current at 0.75 p.f lagging and a rated terminal voltage. Compute the terminal voltage for the same excitation when the generator supplies full load current at 0.8 p.f leading.

7. a)	Explain the principle of working of synchronous motor.

b) 	A 3phase, 1385v star connected synchronous motor having synchronous reactance  of 2 ohm per phase and negligible resistance takes an input of 207.8kw with an induced e.m.f of 916.5v per phase. Calculate the motor line current and its power factor.

8.  a) 	What is a synchro? Draw a connection diagram of a synchro transmitter and explain its working.

b) 	Explain the working principle of split-phase capacitor-run single phase Induction Motor.

~ ~ ~ ~

Code No: NR-211001

Set No.

2

II B.Tech. I-Semester Supplementary Examinations, November-2004

ELECTRICAL TECHNOLOGY

(Common to Electronics and Instrumentation Engineering, Electronics and Control Engineering, Bio-Medical Engineering)

Time: 3 hours							    Max Marks: 80

Answer any FIVE Questions

All Questions carry equal marks

- - -

1.  a)	Explain the basic principle of operation of a D.C. Generator?

b)	Discuss the reasons for failure of self excitation, and suggest the remedies.

c)	A 250V d.c. shunt machine has line current of 80A. It has armature and field resistances of 0.1 and 125 respectively. Calculate power developed in armature when running as

i) generator

ii) motor.

2. a)	What is the significance of the back e.m.f. of a D.C. Motor?

b)	Deduce the condition for maximum power for a D.C. Motor?

c)	A 220V shunt motor with an armature resistance of 0.5 is excited to give constant main field. At full load the motor runs at 500 rpm and takes an armature current of 30A. If a resistance of 1.0 is placed in the armature circuit, find the speed at

i) 	full-loadtorque

- double full-load torque.

3. a) 	Draw the equivalent circuit of a transformer and show how the constants of

primary and secondary windings may be combined to give a simplified equivalent circuit with the values of constants given in terms of secondary winding.

b) 	Explain the constructional details of 1-Phase transformer.

4. a) 	‘Efficiency and regulation can be predicted from OC and SC tests’. Justify.

b) 	A 5 kVA, 1-phase transformer rated at 50 Hz, 200 / 400 volts gave the following test data:

S.C. Test: 9 Volts, 6 Amps, and 21.6 Watts (on HV side);

O. C. Test: 200 Volts, 0.7 Amps, 60 Watts (on LV side);

For the above transformer: Draw the equivalent circuit and insert the various parameters on it referred to

i)   primary and

ii)  secondary

5. a) 	Explain various power stages of  a 3-phase induction motor.

b) 	A 3-phase induction motor with r2 / x2 = 0.5, has a starting torque of 25.0 Nm. For negligible stator impedance and no-load current, determine the starting torque in case the rotor-circuit resistance per phase is (i) doubled (ii) halved.

(Contd…2)

Code No: NR-211001.			.. 2 ..			  	        Set No: 2

6. a)	Explain the synchronous impedance method of computing the voltage regulation.

b) 	A 3 phase, 12 pole, star connected alternator has 180 slots with 10 conductors per slot and the conductors of each phase are connected in series. The coil span is 144 degrees (electrical). Determine the phase and line value of e.m.f. If the machine runs at 1600 r.p.m and the flux per pole is 0.06 Weber distributed sinusoidally over the pole.

7. a)	Explain why a synchronous motor doesn’t have self-starting torque. Explain one method of starting a synchronous motor.

b)	A 3phase, 3300v, star connected synchronous motor has a synchronous reactance of 5 ohm per phase. The input to the motor is 1000kw at a normal voltage and the induced line e.m.f is 4000v. Calculate the line current. Neglect armature resistance.

8. a) 	How is the direction of rotation reversed for each of the following.

- Resistance –start induction run motor and

- Capacitor start induction run motor.

b) 	Explain the construction and operation of split – phase induction motor.

~ ~ ~ ~

Code No: NR-211001

Set No.

3

II B.Tech. I-Semester Supplementary Examinations, November-2004

ELECTRICAL TECHNOLOGY

(Common to Electronics and Instrumentation Engineering, Electronics and Control Engineering, Bio-Medical Engineering)

Time: 3 hours							    Max Marks: 80

Answer any FIVE Questions

All Questions carry equal marks

- - -

1.  a)	Sketch the symbolic representation following types of D.C. Generators

i)  Shunt 	ii) Series and        	iii) Compound

b)	State with reason the area of application of various D.C. Generators used?

c)	A 4-pole machine running at 1000rpm has an armature with 90 slots having 6 conductors per slot. The flux per pole is 6X10-2 Wb. Determine the induced emf as a D.C. Generator if the coils are lap connected. If the current per conductor is 50 amperes, determine the electrical power output of the machine.

2. a)	Explain how we can implement flux control and Armature Rheostatic control methods of speed control for a typical D.C. Shunt Motor. Enumerate the differences in the two methods.

b)	A d.c. series motor runs at 500 rpm on 220V mains drawing a current of 50A. The resistance of the machine is 0.15. Calculate the value of resistance which when connected in series with the machine will reduce the speed to 350 rpm the load torque being then half of the previous value. Take flux proportional to current.

3. a) 	Compare between core type and shell type transformers.

b) 	Derive the emf equation of a 1-Phase transformer and calculate the emf / turn, if the flux is 0.015 wb at a frequency of 50 Hz.

4. a) 	Derive the condition for maximum efficiency of a transformer.

b) 	The parameters of the equivalent circuit for a 1-phase transformer are R0 = 400 , X0 = 231 , Rt = 0.16  and Xt = 0.7 . The input voltage is 200 V, and load 5.96+j 4.44. (All values are referred to primary.) The ratio of secondary to primary turns is 10. Find the secondary terminal voltage; the primary current; and the efficiency.

5. a)	Explain the Autotransformer starters used in induction motors. What are its advantages?

b) 	A 200 kW, 3300 V, 6-pole, 50 Hz star-connected slip-ring induction motor has a star connected rotor. Stator to rotor turns ratio is 3.2. Rotor resistance and leakage reactance are 0.1  and 1  respectively. Neglect stator impedance. Find (i) current and torque at starting on rated voltage and with slip rings short circuited and (ii) the external resistance required to reduce the starting current to 50 A with across-the-line starting. Compute also the starting torque under these conditions.

(Contd…2)

Code No: NR-211001			.. 2 ..			  	        Set No: 3

6. a)	Explain the constructional details of a synchronous machine giving the reasons for making two different types of rotors.

b)	A 100KVA, 3000V, 50 Hz,3-phase star connected alternator has effective armature resistance of 0.2 ohm. A field current of 40 A produces short circuit current of 200A and on open circuit e.m.f of 1100V(line value).  Calculate the full load percentage regulation at a power factor of 0.8 lagging.

7. a)	 Explain the principle of a  pole synchronous motor.

b) 	A 750KW, 11KV, 3 phase ,star connected synchronous motor has a synchronous reactance of 35 ohm per phase and negligible armature resistance. Determine the excitation e.m.f per phase when the motor is operating on full load at 0.6 p.f leading. Its efficiency under this condition is 90%.

8. a) 	Explain the operation of a single phase induction motor on the basis of double revolving field theory.

b) 	Draw a typical torque-speed curve of a single phase induction motor on the   basis of double revolving field theory.

~ ~ ~ ~

Code No: NR-211001

Set No.

4

II B.Tech. I-Semester Supplementary Examinations, November-2004

ELECTRICAL TECHNOLOGY

(Common to Electronics and Instrumentation Engineering, Electronics and Control Engineering, Bio-Medical Engineering)

Time: 3 hours							    Max Marks: 80

Answer any FIVE Questions

All Questions carry equal marks

- - -

1.  a)	Why brushes and commutator are necessary for operation of a D.C. Machine.

b)	How D.C. Generators are classified?

c) 	The armature of a 6-pole d.c. generator has a wave winding containing 664 conductors. Calculate the generated e.m.f. when flux per pole is 0.06 weber and the speed is 250rpm. At what speed must the armature be driven to generate an e.m.f. of 250V if the flux per pole is reduced to 0.058 weber?

2. a)	State the reasons for drop in speed of a D.C. Shunt motor when it is loaded.

b)	Explain why a D.C. Series Motor is best suited for Electric traction applications.

c)	Explain why a D.C. Shunt Motor can be referred as Constant Speed Motor.

d)	250V d.c. shunt motor takes 41A at full load. Resistances of motor armature and shunt field windings are 0.1 and 250 respectively. Find the back emf on full load. What will be its generated emf, if working as generator and supplying 41A to load at terminal voltage of 250V.

3.a) 	Explain the operation of transformer on load.

b) 	A single-phase transformer with a ratio of 440 / 110 V takes a no-load current of 5 A at 0.2 power factor lagging. If the secondary supplies a current of 120 A at A power factor of 0.8 lagging, estimate the current taken by the primary.

4.	Write short notes on:

a)  OC and SC tests on transformers.

b)  Losses in transformers.

5. a) 	Explain the star/delta starter for an induction motor.

b) 	A 400 V, 3-phase, 5 pole, 50 Hz, induction motor draws a power of 2 kW at no load and at rated voltage and frequency. At a full-load slip of 3%, the power input to motor is 50 kW and the stator ohmic loss is 1.5 kW. Neglect I2R loss at no load. If the stator core loss and mechanical losses are assumed equal, then at a slip of 3%, calculate (i) rotor ohmic loss (ii) shaft (or output) power (iii) shaft torque (iv) internal torque and (v) efficiency.

(Contd…2)

Code No: NR-211001.			.. 2 ..			  	        Set No: 4

6. a) 	How emf is induced in the armature of alternator.  What are the factors that cause a change of the alternator terminal voltage?

b) 	A 3phase, 10 pole star connected alternator runs at 700 r.p.m. It has 120 stator slots with 10 conductors per slot, if the flux per pole is 0.056 wb. Determine the phase and line induced e.m.f.

7. a)	Explain auxiliary motor starting of synchronous motors.

b) 	A 3-phase alternator is rated at 5 KVA, 110V, 26.3A, 50 Hz and 1200 r.p.m. The stator resistance between terminals as measured with dc is 0.2 ohm. With no load and rated speed the stator line voltage is 160V for a field current of 4A. At rated speed, the short circuit stator current per terminal is 50A for a field current of 4A. Compute voltage regulation of alternator at 0.8 p.f. lagging, using synchronous impedance method.

8. a) 	Give the description of A.C tachometer and mention its applications.

b) 	Write a short note on shaded pole type servo-motor.

~ ~ ~ ~