Code No: 210155

OR

II B.Tech. I-Semester Supplementary Examinations, November-2004

BUILDING MATERIALS & CONSTRUCTION

(Civil Engineering)

Time: 3 hours							    Max Marks: 70

Answer Any FIVE questions, selecting a minimum of two questions from each part

All Questions carry equal marks

- - -

## PART – A

1.a)	Explain briefly the tests conducted on building stones.

- State various method of quarrying.

- State the favorable features of the stones that make them good building materials.

2.a)	Explain step by step the manufacture of bricks.

b)	State the method of manufacturing and special qualities of the following bricks.

(i) sand – lime bricks  (ii) Fly ash bricks  (iii) Stabilised bricks.

c)	Explain briefly three important tests for determing the  engineering properties of the bricks.

3.a)	Lists the constituents of Portland cement. State the functions of each constituent.

- State the characteristics and uses of various types of line

- What is seasoning of timber? What are the advantages of seasoning?

4.a)	What are the required properties of good thermal insulating materials?

b)	State the common accoustic insulating materials.

c)	State the properties and use of the following materials in the building construction.

(i) Aluminum 			(ii) Fibre boards.

### PART – B

5.a)	Sketch a plan and section of a pile foundation consisting of a group of nine piles arranged in a square pattern. Name all the components.

b)	Sketch the plan and elevation of (i) Coursed rubble masonry (ii) Ashlar masonry     (iii) Random Rubble masonry.

6.a)	Explain method of construction of (i) concrete floor (ii) Mosaic floor.

- State the relative disadvantages and advantages of flat and sloping roofs.

- Sketch on RCC roaf with 4 m span. Show the reinforcement details.

7.a)	State the defects and their remedial measures in plastering.

- What is a distemper? Explain the process of distempering.

- Explain step by step painting the surface of a new wood work.

8.a)	Sketch: (i) Gantry scaffolding (ii) Double scaffolding.

- Sketch the formwork for (i) Roof slab with beams (ii) Square column.

-*-*-*-