Code No: NR/RR 211103

Set No:

1

II B. Tech I-Semester Regular Examinations, November-2004

BIO-ELECTRICITY AND ELECTRODES

(Bio Medical Engineering)

Time: 3 hours							   Max. Marks: 80

Answer Any FIVE questions

All questions carry equal marks

---

1.	What is Nernest equation?  Explain how it shows that   the electrode response depends on both temperature and the no of charges on the ion.

2.	Give an account of generation and propagation of an impulse in unmyelinated and myelinated nerve fibers.

3.	What are contractile fibers? Explain the depolarization, plateau phase and

repolarization of action potential of cardiac muscle fiber of heart?

4.a)	What do you mean by unipolar and bipolar leads?

b)	 Why a study of above two types of leads is helpful in understanding the

electrical activity of heart?

5.a)	 What are the bio electric sources of volume conductor fields? Explain.

b)	 What do you mean by volume-conductor formulations? What are their

applications?

6.a)	 Write a short note on various types of electrodes used to extract bio-signals?

b)	  What are physiotherapy instruments?

7.a)	 What do you mean by gradation of muscular activity? Explain.

b)	  What is chemical significance of fatigue. Explain.

8.a)	 What are the forward problems associated with bioelectric phenomena?

b)	  What do you mean by EEG? What is REM?

(((*)))

Code No: NR/RR 211103

II B. Tech I-Semester Regular Examinations, November-2004

Set No:

2

BIO-ELECTRICITY AND ELECTRODES

(Bio Medical Engineering)

Time: 3 hours							   Max. Marks: 80

Answer Any FIVE questions

All questions carry equal marks

---

1.	What is resting potential? Explain how the membrane potential is measured in Squid axon.

2.	Explain the EPSP and IPSP and add a note on electrical properties

of  synaptic junction.

3.		 Explain the components of conduction system of heart and the characteristics of their action potentials.

4.a)	 Drawing the Einthoven’s triangle, explain the electrical activity of the heart?

b)	 What do you mean by augmented limb leads.

5.a)	 What is a inhomogenous media with regard to volume conductor fields?

b)	 Give an elementary treatment of integral equations with regard to volume

conductors.

6.a)	Explain the bio-potential electrodes used for surgery.

b)	Using a circuit diagram, discuss about Electrode-Electrolyte interface.

7.a)	What do you mean by the process of neuromuscular transmission. Explain.

b)	 Draw and explain the EMG waveform.

8.a)	 Explain impedance Plethysmography.

b)	 What are the methods of measuring the tissue resistance.

(((*)))

Code No: NR/RR 211103

II B. Tech I-Semester Regular Examinations, November-2004

Set No:

3

BIO-ELECTRICITY AND ELECTRODES

(Bio Medical Engineering)

Time: 3 hours							   Max. Marks: 80

Answer Any FIVE questions

All questions carry equal marks

---

1.	Describe the electric equivalent circuit  of  axon. Add a note on membrane conductance.

2.	What is synaptic cleft? Explain how impulse is transmitted through synaptic cleft.

3.	Explain the depolarization and repolarization of heart chambers with an ECG

wave form?

4.a)	What do you mean by pericardial leads? Give their importance.

b)	 Using Einthoven triangle, give the relation between leadI, leadII and leadIII.

5.	Write a short note on:

a) 	Integral equations in volume conductor fields.

b)        Solid angle computations.

6.a)	 In brief, discuss the application of physiotherapy equipment in medicine.

b)	 Give the circuit properties of microelectrodes.

7.a)	 What do you mean by  electrical activity of skeletal muscles?

b)	  What are motor unit potentials? Explain.

8.a)	 Explain the principle of impedance Plethysmography.

b)	 Discuss different brain waves present in EEG with frequency ranges.

(((*)))

Code No: NR/RR 211103

II B. Tech I-Semester Regular Examinations, November-2004

Set No:

4

BIO-ELECTRICITY AND ELECTRODES

(Bio Medical Engineering)

Time: 3 hours							   Max. Marks: 80

Answer Any FIVE questions

All questions carry equal marks

---

1.	Write on account of propagation of action potential and add a note on ion  influx  and  ion efflux.

2.	Explain how propagation of  an impulse is different from transmission with reference to neuroneuronal  junction.

3.	Discuss in detail about heart and its electrical activity. How does repolarization occur in cardiac muscle fiber of heart?

4.a)	What are precordial leads? Explain with neat circuit diagram.

b)	 Interpret the ECG as a case of Cardiac transmission waveform.

5.	Write a short note on:

a) 	Elementary treatment of integral equations.

b) 	Core conductor model.

6.a)	 Draw the equivalent circuits and explain the circuit properties of needle and

micro Electrodes.

b)	 Mention the important characteristics of above two electrodes.

7.a)	 What are various electrodes used in EMG?

b)	 Write a note on use of EMG in diagnosing neuromuscular disorders.

8.a)	 Explain the procedure of tissue resistance measurement.

b)	 What are Inverse problems in bio-electric phenomena?

(((*)))