Code No: NR/RR-311105

Set No.

1

III B.Tech. I-Semester Regular Examinations, November-2004

BIO-MEDICAL EQUIPMENT

(Bio-Medical Engineering)

Time: 3 hours							    Max Marks: 80

Answer any FIVE Questions

All Questions carry equal marks

- - -

1.a)  	Explain with a neat block diagram  an isolation preamplifier commonly used  in  ECG machine?

b)  	Describe various types of Leads used to record ECG?

2.	What is Chromatology ? With neat block diagram explain gas-liquid chromatograph?

3.	Explain the principles and working of central monitor in ICCU?

4.a) 	Give the classification of pacemakers? Explain the principle of operation of on-demand external pacemaker?

b)	What are the  different safety measures to be taken while using Defibrillators?

5.a)	Infusion pumps and suction apparatus form a very important portion in the operation theatre. Explain the working of these two equipment. Give out the specifications of  these machines?

b) 	What is the principle of Diathermy? Bring out the difference between microwave and ultra sound diathermy.

6.a)  	Bring out the principle of electro surgery equipment in a hospital, with the necessary diagram?

b)	Explain about High frequency hazards, explosion hazards and how do you rectify them?

7.	What is the use of recorder in medical system? Discuss any two types of recorders

in detail.

8.a) 	With a necessary sketch explain how leakage current can be reduced in electro 	medical equipment?

b) 	List the different precautions to be taken to prevent hazardous situations in a hospital?

-*-*-*-

Code No: NR/RR -311105

Set No.

2

III B.Tech. I-Semester Regular Examinations, November-2004

BIO-MEDICAL EQUIPMENT

(Bio-Medical Engineering)

Time: 3 hours							    Max Marks: 80

Answer any FIVE Questions

All Questions carry equal marks

- - -

1.	How do you determine conduction velocity in motor nerves? What is the         instrument used for the determination of electrical activity in muscles explain with block diagram?

2.	With a neat schematic explain principle of operation of flame emission photometer?

3.a) 	Explain the principle of blood pressure measurement based on korotkoff Sounds?

b)	Explain the disadvantages of direct blood pressure measurement?

4.a)  	What are the power sources of implantable pacemakers?

b) 	Differentiate between synchronous and Asynchronous types of pacemaker? Explain the functioning of typical pacemaker?

5.a) 	Discuss the applications of ultrasonic therapy?

b) 	Explain the operation of Bladder stimulator?

6.a)  	Explain the working of nebulizers in the hospital  environment?

b)	Discuss the advantages and disadvantages of different types of ventilators?

7.	Discuss the operation theatre table in detail.

8.	List different leakage currents. Discuss a method to reduce it?

-*-*-*-

Code No: NR/RR -311105

Set No.

3

III B.Tech. I-Semester Regular Examinations, November-2004

BIO-MEDICAL EQUIPMENT

(Bio-Medical Engineering)

Time: 3 hours							    Max Marks: 80

Answer any FIVE Questions

All Questions carry equal marks

- - -

1.	With a neat block diagram explain the EMG machine.

2.a) 	Explain the working of:

i) 	flame photometer

ii) 	spectro photometer.

b) 	What are the sources of errors in spectrophotometer and flame photometer Discuss any two for each?

3.a)  	Bring out the principle of phonocardiography. Bring out the mechanical Sequences associated with the various heart sounds?

b)  	Describe briefly about foetal phonocardiogram?

4.a) 	Discuss the difference between external and internal pacemakers? Explain all the types of pacemakers based on the type of output waveform?

b)  	Discuss the Reliability aspects of cardiac pacemakers?

5.a) 	Explain the working of heart lung machine taking the example of a thin film membrane type blood oxygenators?

b) 	Bring out the role of stimulators in rehabilitation. Describe the working of nerve stimulators?

6.	What is Nebulizer? Explain nebulizer system used in  anesthetic delivery System?

7.	What are the general features of Dot recorder? List its merits and demerits.

8.a) 	What are the effects of electric currents on human body?

b) 	With neat schematic explain the principle of working of leakage current meter?

-*-*-*-

Code No: NR/RR -311105

Set No.

4

III B.Tech. I-Semester Regular Examinations, November-2004

BIO-MEDICAL EQUIPMENT

(Bio-Medical Engineering)

Time: 3 hours							    Max Marks: 80

Answer any FIVE Questions

All Questions carry equal marks

- - -

1.	Explain multichannel EEG machine with block diagram and what are the various troubleshooting arise in EEGrecordings and how do you rectify them?

2.	What are the various parts of biochemical analyzer? Explain all of them?

3.	Explain about foetal monitor with a neat sketch?

4.a) 	Explain the use of automatic Implantable defibrillators (AID) with neat block diagram explain its function?

b) 	What is defibrillator analyzer. Discuss briefly? Discuss any two types of electrodes used in defibrillators?

5.a) 	How is drug delivered automatically to the patient in hospital system? Explain any one way of  Drug delivery.

b) 	What are the characteristics of an ideal blood pump. Discuss any two types blood pumps used in Heart lung machine ? what is the use of Heat exchanger in heart lung machine.

6.a)	What is the need of artificial ventillation ? Positive pressure ventilators are successful in treating pulmonary disorder patients than negative pressure ventilators. Discuss.

b)	Explain about the principle of operation about the Nebulizer?

7.	With a neat schematic explain the ink jet recorder. What are its demerits?

8.	List the different types of electric shock hazards? Explain any one in detail.

-*-*-*-