Code No: RR-312201

Set No:

1

III B.Tech I-Semester Regular Examinations, November 2004

ANALYTICAL INSTRUMENTAION

(Instrumentation and Control Engineering)

Time: 3 hours						Max. Marks: 80

Answer any FIVE questions

All questions carry equal marks

---

1.	With necessary diagrams briefly discuss the various types of electrodes used in 	pH measurement.

2. a)	With neat sketch explain the construction and controls of a general sampling system.

b)	With neat sketch explain the sampling mechanism of the automatic sampler.

3. 	List out the practical considerations to be checked for continuous gas measurement.

4. a)	With neat sketches, explain with detail photometric detector used in liquid chromatography system.

b)	With neat sketches, explain with detail fluorometric detector used in liquid chromatography system.

5. a)	Distinguish between calorimeters and photometers.

b)	Briefly explain the absorption spectrometer for visible range using single beam approach.

6. a)	Write about the fuel system of Flame photo writer?

b)	Write about the neubuliser (or) atomiser in Flame photometer.

7. a)	Explain the  sweeping modes available in continuous wave NMR spectrometer.

b)	Discuss the salient features of multipurpose NMR spectrometer and wideline NMR spectrometer in detail.

8. 	Explain with necessary sketches the constructional details of

- a) 	G.M.counter.

- b) 	Scintillation counter.

###

Code No: RR-312201

Set No:

2

III B.Tech I-Semester Regular Examinations, November 2004

ANALYTICAL INSTRUMENTAION

(Instrumentation and Control Engineering)

Time: 3 hours						Max. Marks: 80

Answer any FIVE questions

All questions carry equal marks

---

1. a)	Define the term Conductivitymetry.

b)	With neat sketch explain the conductivity method for the measurement of SO2 	in air sample.

2. a)	With neat sketch explain the dissolved oxygen electrode system.

b)	With neat sketch explain the construction of hydrogen gas electrode.

3. a)	Explain the principle of operation of thermal conductivity gas analyzers.

b)	Give a generalized equation of the thermal conductivity of a mixed gas, if individual thermal conductivities and their concentrations are known.

4. 	Explain the various evaluation methods in chromatography system?

5. 	What is a spectrophotometer and explain a typical UV/ visible spectrometer using double beam.

6. a)	Explain the operation of  multi channel type instrument to calculate focal length 	of a monochromator.

b)	If the order used in an echelle grating is 70 and a dispersion angle 600, groove     density 80 / mm and focal length 0.5 m, Obtain the reciprocal linear dispersion and resolution.

7. 	Distinguish between single focussing and double focussing mass spectrometer in                                                                                                                                                                  terms of principle and constructional details.

8.	Write short notes on:

a)	Factors affecting the counting of pulses.

b)	Possible radiation methods with different interaction techniques.

###

Code No: RR-312201

Set No:

3

III B.Tech I-Semester Regular Examinations, November 2004

ANALYTICAL INSTRUMENTAION

(Instrumentation and Control Engineering)

Time: 3 hours						Max. Marks: 80

Answer any FIVE questions

All questions carry equal marks

---

1. a)	With schematic diagram explain the beat frequency method for measuring conductivity.

b)	Draw and explain the equivalent circuit of the conductivity cell when used in high frequency methods.

2. 	Explain how silica analysis is done in boiler water of power plant.

3. a)	What is meant by chemiluminescence?

b)	Explain how chemiluminescence can be used to estimate nitrogen oxides of the sample.

4.	Discuss the quantitative analysis of chromatography system?

5. a)	Often in spectrometric analysis an internal standard is used. Why is it necessary?

b)	Describe one particular system where it is used and show how it helps in analysis of the sample.

6. a)	Briefly out line the three techniques of atomization.

b)	Compare the three techniques of atomization.

7.	Discuss in detail the salient features of the detectors employed in mass spectrometry.

8. a)  	How will you detect the nuclear radiation. Explain with a neat diagram.

b)  	What is a scintillator? Give examples. Discuss the salient features of a scintillation counter.

###

Code No: RR-312201

Set No:

4

III B.Tech I-Semester Regular Examinations, November 2004

ANALYTICAL INSTRUMENTAION

(Instrumentation and Control Engineering)

Time: 3 hours						Max. Marks: 80

Answer any FIVE questions

All questions carry equal marks

---

1. a)	Draw the block diagram of digital pH meter and explain.

b)	Explain the applications of the pH measurement in process industries.

2. a)	Explain about the polarographic method of estimation of dissolved oxygen.

b)	Give the application for polarographic oxygen analyzer.

3. 	How co laser can be used for the measurement of nitric oxide. Give a neat block diagram and explain the operation of each block clearly.

4. a)	With the help of neat sketch explain the operation of ionization detector used in PCG system

b)	With the help of neat sketch explain the operation of thermo ionic emission detector used in PCG system.

5. a)	Explain briefly the principle and operation of UV/ visible spectrometer using Littrow prism.

b)	Explain how the instrument is calibrated

6. a)	Explain the importance of atomic spectroscopy.

b) 	Explain grounded singlet, excited singlet and excited triplet states.

7.	Describe in detail the salient features of spark source ionization technique employed in mass spectrometry.

8. a) 	Draw the schematic of Geiger counter and explain the principle of operation.

b) 	Describe with a neat sketch the constructional details and application of a proportional counter.

###