Code No: 311153

OR

III B.Tech. I-Semester Supplementary Examinations, November-2004

BASIC CLINICAL SCIENCES-I

(Bio-Medical Engineering)

Time: 3 hours							    Max Marks: 70

Answer any FIVE Questions

All Questions carry equal marks

- - -

1. a)	Describe the procedure of peritonial dialysis with the help of a neat sketch.

- Compare different types of dializers.

2.	List out different monitoring devices used in dialysis machine and explain their principles of operation.

3. a)	Draw a neat sketch for neuro muscular junction and explain the process of signal transmission and its effect.

b)	Distinguish between electro encephalography and pneumo, encephalography.

4. a)	Draw a typical ECG waveform, label it and correlate with the associated mechanical activity.

- Compare temporary and permanent pacing techniques.

5. a)	Discuss the procedure adopted for setting up a heart lung machine during CT surgery.

- Discuss the constructional details and applications of SWAN catheter.

6. a)	Distinguish between echocardiography and abdominal ultrasound scanning.

- Discuss various grafts used during cardiac surgery.

7. a)	List clinical applications of Laparoscopy and discuss any two in detail.

- Discuss sterilization procedures of laparoscopic instruments.

8.	Write short notes on any four of the following:

- Infusion pumps

- Ergometer

- Chronic ambulatory peritonial dialysis.

- Indications for permanent pacing

- Electro-surgical generator.

@&@&@