Code No: NR/RR 311103

Set No.

1

III B.Tech. I-Semester Regular Examinations, November-2004

BASIC CLINICAL SCIENCES-II

(Bio Medical Engineering)

Time: 3 hours							    Max Marks: 80

Answer any FIVE Questions

All Questions carry equal marks

- - -

1. a)	Define the inflammation  and mention the causes of inflammation.

b)	Write short notes on the dead cell.

c)  	Write short note on Wound healing.

d)  	Explain the defense mechanism of body against infection.

2. a) 	Give a detailed account on Blood Groups  and Rh Factor

b)	Explain hemolytic disease of New born and Write a note on Exchange Transfusion.

3.a)	Explain the Functioning and uses of Pulse ox meter.

b)	Write a note on Ventilators.

4.	Write note on Central Venous Pressure.

5. a)  	Classify the tumors based on radio sensitivity with at least two examples  for each type.

b)	Explain the effect of oxygen on radio sensitivity of the tumor cell.

6. a)	Describe the Somatic effects of radiation .

b)	Explain the Biological effect of radiation on genetic tissue.

c)	Give an account of effects of radiation on  the embryo.

7.	Mention the Maximum permissible doses in radio therapeutic applications.

8.	Write a note on the following:

i) 	Radio immunoassay

ii)  	Therapeutic uses of Radio isotope

iii)	Carcinoma thyroid

iv)	Cytopathology of Malignant pleural effusion and ascites

x-x-x

Set No.

2

Code No: NR/RR 311103

III B.Tech. I-Semester Regular Examinations, November-2004

BASIC CLINICAL SCIENCES-II

(Bio Medical Engineering)

Time: 3 hours							    Max Marks: 80

Answer any FIVE Questions

All Questions carry equal marks

- - -

1.	Write short notes on:

- Differential count

- ESR

- Total White cell count

- Hemoglobin Estimation

2.	Explain the organization of Blood Bank with reference to infrastructure, equipment,   Protocols and registers.

3. a)	Explain  monitoring of pulse, B.P, Respiration, E.C.G, of  patient  during surgery

b)	Write a note on Basic Anesthesia machine (Boyles apparatus)

c)  	Write note on Plethysmography.

4.	Explain the equipment and functioning of CSSD.

5. a)	Describe a cell survival theory .

b)	Describe Therapeutic ratio.

c)	How are the Physical chemical and Biomedical parameters modify the radiation response.

6.	Explain the radiation Protection measures against radiation hazards.

7.	Effect of radiation on Bone marrow.

8.	Write a note on Vascular Doppler study.

x-x-x

Code No: NR/RR 311103

Set No.

3

III B.Tech. I-Semester Regular Examinations, November-2004

BASIC CLINICAL SCIENCES-II

(Bio Medical Engineering)

Time: 3 hours							    Max Marks: 80

Answer any FIVE Questions

All Questions carry equal marks

- - -

1.	Mention the Indications for replacement of Joints.

2. a)	Mention the Screening tests  done for Blood Donor.

b)	Role of Blood Banks in Prevention of spread of AIDS.

c)	What are Blood Transfusions reactions?

3.	Describe the Mechanism of gas exchange and enumerate the indications for artificial respiration.

4.	Describe the flow diagram with organization of operation theatre complex.

5.	Explain the Modalities of radiation therapy.

6.	Explain the radiation Protection measures against radiation hazards.

7.	Explain the Effect of radiation on Bone marrow.

8.	Write a note on Echo Cardiography.

x-x-x

Code No: NR/RR 311103

Set No.

4

III B.Tech. I-Semester Regular Examinations, November-2004

BASIC CLINICAL SCIENCES-II

(Bio Medical Engineering)

Time: 3 hours							    Max Marks: 80

Answer any FIVE Questions

All Questions carry equal marks

- - -

1.	Mention implants used for internal fixation after reduction of fractures.

2.	Explain the organization of Blood Bank with reference to infrastructure, equipment,   Protocols and registers.

3. a)	Explain  monitoring of pulse, B.P, Respiration, E.C.G,  of  patient  during    surgery	.

- Write a note on Basic Anesthesia machine (Boyles apparatus).

- Write note on Plethysmography.

4. a)  	Describe the Pre-anaesthetic preparation of patients.

b)	Explain the Post operative respiratory care after general anesthesia.

5. a)	Classify the tumors based on radio sensitivity with at least two Examples  for each type.

b)	Explain the effect of oxygen on radio sensitivity of the tumor cell.

6. a) 	Describe the Somatic effects of radiation .

- Explain the Biological effect of radiation on genetic tissue.

- Give an account of effects of radiation on the embryo.

7. a)	What are the complications of radio therapy.

b)	Explain the Radiation Burns of skin and its Prevention.

8.	Write a note on the following:

- Radio immunoassay

- Therapeutic uses of Radio isotope

- Carcinoma thyroid

- Cytopathology of Malignant pleural effusion and ascites

x-x-x