Code No: 310252

OR

III B. Tech I-Semester Supplementary Examinations, November-2004

POWER SYSTEMS-I

(Electrical and Electronics Engineering)

Time: 3 hours							Max. Marks: 70

Answer Any Five Questions

All questions carry equal marks

---

1. a)	What are the factors, which should be considered while selecting a site for a hydro-electric power plant?

b)	With a neat sketch, explain the schematic arrangement of Hydro-electric power plant.

2.a)	 What are the requirements of a boiler being used for a power station? How do you classify them?

3.	Write notes on auxiliaries of boilers.

4.		Define nuclear fission? Explain the phenomenon of chain reaction in nuclear

power plant.

5.	Explain the following:

a) Economic choice of conductor size

b) Kelvin’s law and its limitations

6.a) 	Explain the classification of sub-stations.

b) 	Explain the advantages of outdoor sub-station as compared to the indoor          sub-station.

7.a) 	What do you understand by the load curve? What information is conveyed by a load curve?

b) 	Describe the desirable characteristics of a tariff.

8.a)	Explain the terms load factor and diversity factor. How do these factors influence   the cost of generation?

b)	 Describe some of the important types of tariff commonly used .

+ + + + +