Code No: NR/RR-310805

Set No.

1

III B.Tech I–Semester Regular Examinations, November-2004

PROCESS INSTRUMENTAION

(Chemical Engineering)

Time: 3 hours							Max. Marks: 80

Answer any Five questions

All questions carry equal marks

---

- With a neat sketch, explain the elements of an Instrument.

2.	Discuss in detail the factors affecting the speed of response and sensitivity of a thermocopule.

3.	Explain indetail the working of  Beckman's UV-spectrometer with a neat sketch. Give its applications.

4. 	What is humidity? Explain its importance. Describe how moisture in fibre materials is measured by infra-red transmission technique.

5.	With a neat diagram explain the constructional features and the working of an Electric Pressure gauge

6.a) 	Write in detail the methods available for measuring density.

b) 	Explain various methods of direct measurement of liquid level.

7.    	Draw the figure of a pitot tube fitted in a pipe line and indicate clearly the parts in the tube and the points of pressure measurement.

8.a)	Obtain a relation between discharge and head for a rectangular weir.

b)	A pitot tube having a coefficient of 0.95 is inserted in the central line of a smooth pipe of 250mm diameter, in which crude oil of density 0.9gm/cc and viscosity if 16.3cP is flowing. Calculate the maximum velocity of oil in the pipe if the differential pressure in the manometer is 5 cm of water.

+ + + + +

Code No: NR/RR-310805

Set No.

2

III B.Tech I–Semester Regular Examinations, November-2004

PROCESS INSTRUMENTAION

(Chemical Engineering)

Time: 3 hours							Max. Marks: 80

Answer any Five questions

All questions carry equal marks

---

- What are the different elements of a measuring instrument? Describe in detail.

2.	Describe with the help of a diagram, the operating principles of an optical pyrometer what are the factors that influence the use of optical pyrometer.

3. 	How does a glass electrode work for the determination of PH.? What is an asymmetry potential? How is it taken care of?

4. 	On what factors do band-broadening and brand - separation depends in chromatography. What are their consequences in the results of the analysis?

5.a)	What are the factors which decide the choice among electric, mechanical and pneumatic pressure measuring systems?

b)	Explain with a neat diagram the constructional features of a bell differential pressure gauge

# 6.a) 	Write about methods to be followed to measure liquid level in corrosive liquids.

b) 	Describe in detail the density measurement using weight method.

7.a)  	What is the difference between the measurements indicated by an orifice meter and a pitot tube?  Explain the reason.

- Explain the concept of static pressure and stagnation pressure in a pitot tube.  Write the equation relating them.

8.a)	What are the uses of recording instruments.

b)	Explain the two different styles of recording charts. Discuss their merits and limitations one over the other.

+ + + + +

Code No: NR/RR-310805

Set No.

3

III B.Tech I–Semester Regular Examinations, November-2004

PROCESS INSTRUMENTAION

(Chemical Engineering)

Time: 3 hours							Max. Marks: 80

Answer any Five questions

All questions carry equal marks

---

1.	What are first order type Instruments? Present its dynamic response to a step 	change.

2.	Describe the working principle of and range of operation of any two of the following :

a) Radiation pyrometer 	b) Optical pyrometer 	c)	Photoelectric pyrometer

3. 	Write a note on color measurement by spectrometers and its uses.

4.a)	Define chromatography. Name different types of chromatography and different types of detectors used in gas chromatography.

b)	Explain the principle, working and uses of a gas chromatography.

5.a)	What care is to be taken in the Installation and use of pressure gauges

b)	With a neat diagram explain the working of a Prandtl type micro manometer.

6.a) 	Write in detail about float ad tap liquid gage and float and shaft liquid level with

a neat diagram.

b) 	Describe different methods for measurement of pressure in corrosive fluids.

7.  	State the differences and similarities among orifice, venturi and pitot             tubes. Give suitable examples.

8.a)	What is signaling system. Draw the sketch of common signaling systems.

b)	Discuss briefly the variety of indicating scales.

+ + + + +

Code No: NR/RR-310805

Set No.

4

III B.Tech I–Semester Regular Examinations, November-2004

PROCESS INSTRUMENTAION

(Chemical Engineering)

Time: 3 hours							Max. Marks: 80

Answer any Five questions

All questions carry equal marks

---

1.	Present the dynamic response of first order type Instruments to

a) step change   b) linear change   and  c) sinusoidal change.

2.	Write short notes on :

a)Thermocouple lead wires  	b)Thermal wells

3.	How can X-ray absorption spectra be utilized for analysis purposes? What are the characteristics of X-rays? Discuss the relevant diagrams and analysis.

4.a)	Describe the dew point method of measurement of absolute humidity.

b)	Write the principle of gas analysis by thermal conductivity.

5.	Write notes on:

a) Bell differential-pressure meter.

b) Bellows differential-pressure meter.

6.a) 	Explain displacement meter for measuring specific gravity with

a neat diagram.

b) 	Write about differential pressure manometers for measuring	 liquid level.

7.a)	Name the two types of pitot tubes.  Explain their construction and operation with figures.

- State the advantages of a pitot tube in measurement of flow of fluids.

8.	Write notes on:

a) Arrangement of transmitter-controllers.

b) Control center.

+ + + + +