Code No: RR-310204

Set No:

1

III B.Tech. I Semester Regular Examinations, November-2004

# POWER ELECTRONICS

(Electrical and Electronics Engineering)

Time: 3 Hours							Max. Marks: 80

Answer any FIVE Questions

All questions carry equal marks

---

1.	Explain the SCR firing circuits in detail with the help of circuits and waveforms (a) Resistance firing circuits (b) RC firing circuit.

2.	Explain the working of single phase full wave mid point converter with RL load for dis-continuous and continuous current mode operations with circuit and waveforms for  = 750.

3.	A three phase, fully controlled bridge converter is connected to a three phase 50Hz, 415V (line) supply and is operating in the inverting mode at a firing advance angle of 300. If the ac supply has a resistance and inductance per phase of 0.09 ohms and 1mH respectively. Find

a) dc source voltage

b) overlap cycle

c) recovery angle, when dc current is constant at 52A

4.	For a singe phase ac voltage controller feeding a resistive load, draw the waveforms of source voltage, gating signals, output voltage, source and output currents and voltage across SCRs. Describe its working with reference to the waveforms drawn.

5.	Discuss the working of a single phase mid point cyclo converter with R-L loads and for discontinuous operation with neat circuit diagram and output rms voltage and current waveforms for f0=1/3 fs.

6.	Explain the operation of DC Jones chopper for RL loads with neat circuit diagram and output voltage and current waveforms. Also sketch firing signals.

7.	Design a single phase series inverter circuit for operation in the frequency range 1 to 5 KHz. The load resistance may vary from 25 ohms to 100 ohms. The peak load current is limited to 3A and the supply voltages is 100V.

8.	Explain the sinusoidal pulse modulation as used in PWM inverters. Write the important features of the same with the help of circuit and relevant waveforms.

@@@@@

Code No: RR-310204

Set No:

2

III B.Tech. I Semester Regular Examinations, November-2004

# POWER ELECTRONICS

(Electrical and Electronics Engineering)

Time: 3 Hours							Max. Marks: 80

Answer any FIVE Questions

All questions carry equal marks

---

1.	Explain the Ramp firing circuit and Ramp and Pedestal firing circuits for SCR, with the help of circuit and waveforms.

2.	Explain the operation of single phase half controlled bridge converter with R load and derive the load voltage and load current with circuit diagram and necessary waveforms for = 300.

3.	A three phase fully controlled thyristor bridge converter supplies a dc voltage source of 400V having an internal resistance of 1.8 ohms. Assume highly inductive load with a contact load current of 20A. The supply rms load voltage per phase is 230V and source inductance in each phase is 0.005H. Compute the following by ignoring the source resistance.

a) firing angle  for an output voltage of 436V

b) overlap angle

4.	For a single phase ac voltage controller fed from a single phase source and is controlling power to R-load, derive the expressions for rms output voltage, rms output current and line power factor.

5.	Discuss the working of a single phase bridge type cyclo converter with RL loads and for discontinuous operations with relevant output waveforms and circuit diagram for f0 = 1/2 fs.

6.	Explain the operation of DC Morgan’s Chopper for resistive load with neat circuit diagram and output voltage and current waveforms.

7.	Design a self commutated inverter circuit to operate at a frequency of 3 KHz with an optimum distortion.  The load specifications are R = 5 ohms, L = 5 mH,         Edc = 100V. Compute also the output power.

8.	Explain the operation of modified single phase Mc Murray - Bedford half bridge inverter with neat circuit diagram and related load voltage and current waveforms.

@@@@@

Code No: RR-310204

Set No:

3

III B.Tech. I Semester Regular Examinations, November-2004

# POWER ELECTRONICS

(Electrical and Electronics Engineering)

Time: 3 Hours							Max. Marks: 80

Answer any FIVE Questions

All questions carry equal marks

---

1.	Explain in detail various voltage ratings and current ratings of a thyristor.

2.	Explain the operation of single phase half-controlled bridge converter with RL loads with and without free wheeling diode. Also sketch circuit and waveforms for  = 600.

3.	A three phase, half wave controlled converter is connected to a 380V (line) supply. The load current is constant at 32A and is independent of firing angle. Find the average load voltage at firing angle of 00 and 450, given that the thyristors have a forward voltage drop of 1.2V. What value of current and peak reverse voltage rating will the thyristor require and what will be the average power dissipation in each thyristor.

4.	A single phase load of resistance of 12 ohms in series with an inductance of 24mH is fed from 240V (rms), 50 Hz supply by a pair of inverse parallel thyristors. Find the mean power in the load at firing angle of (a) 00 (b) 900 and    (c) 1200.  Ignore source inductance and device voltage drops.

5.	Determine the rms output voltage, rms current of each thyristor and input power factor for a single phase mid point cyclo converter when fed from 230V, 50Hz. The load resistance is 2.5 ohms. The frequency is 20Hz. The delay angle of thyristors is p = 600.

6.	Explain the operation of step-up chopper with neat circuit diagram and necessary output waveforms and also derive expression for output voltage.

7.	Design a single phase parallel inverter to feed a load at 200V, 50Hz and peak load current is 2A. Edc = 40V. Specify the rating of SCRs, transformer and commutating components.

8.	Explain the forced commutation techniques used for single phase bridge inverter with neat circuits and waveforms.

@@@@@

Code No: RR-310204

Set No:

4

III B.Tech. I Semester Regular Examinations, November-2004

# POWER ELECTRONICS

(Electrical and Electronics Engineering)

Time: 3 Hours							Max. Marks: 80

Answer any FIVE Questions

All questions carry equal marks

---

1.	Explain the V-I Characteristics of Thyristors with elaborating the following:

a) Latching current 	          		b) holding current

c) on-state and off-state condition 	d) turn-on and turn-off times

e) finger voltage

2.	Explain the working of single phase half-controlled bridge converter with RL loads for discontinuous and continuous current mode of operations with circuit and waveforms for  = 450.

3.	A three phase, six pulse fully controlled converter is connected to three phase ac supply of 440V and 50Hz and operates with a firing angle of /5 radians. The load current is maintained constant at 5 Amps and load voltage is 440V. Calculate load resistance, source inductance and overlap angle.

4.	A single phase full wave controller supplies an RL load of L = 15mH, R = 5 ohms. The input rms value of voltage is 220V at 50Hz. The delay angle of thyristors are equal as 1 = 2 = 900. Calculate

a) the conduction angle of thyristor

b) the rms value of output voltage and current

c) the rms and average value of thyristor currents

d) input power factor.

5.	For a single phase midpoint cyclo converter with RL loads, R = 5 ohms and         L = 10 mH and supplied from 230V, 50Hz. Determine rms output voltage, current and input power factor for an output frequency of 16.66 Hz.

6.	Explain the operation of class–C commutation circuit with neat circuit and also give its application with neat circuit.

7.	What type of commutation technique is used in single phase series inverter. Explain the commutation procedure with the help of neat circuit diagram and necessary waveforms.

8.	Explain the voltage control in case of single phase bridge inverter circuit, in order to get variable voltage and variable frequency output.

@@@@@