Code No: RR-310205

Set No.

1

III B.Tech. I-Semester Regular Examinations, November-2004

ELECTROMECHANICS-III

(Electrical and Electronics Engineering)

Time: 3 hours							    Max Marks: 80

Answer any FIVE Questions

All Questions carry equal marks

- - -

1. a)	Describe the main constructional features of cylindrical rotor and salient pole alternators.

b)	Derive the expressions for distribution and pitch factors.

2. a)	Derive emf equation for an alternator from fundamentals.

b)	A 50Hz alternator has a flux of 0.1 wb/pole, sinusoidally distributed. Calculate the rms value of the emf generated in one turn of the winding, which spans ¾ of a pole pitch.

3. a)	What is voltage regulation? Discuss the synchronous impedance method of         	calculating voltage regulation.

b)	A 500V, 50KVA, 1-phase alternator has an effective resistance of 0.2W.A field current of 10A produces an armature current of 200A on short circuit and an emf of 450V on open circuit. Calculate

(i) Synchronous impedance and reactance

(ii) Full-load regulation with 0.8p.f. lagging.

4. a)	Explain the two reaction theory applicable to salient pole synchronous Machine.

b)	A 6.6 kV, 1MVA, 3ø alternator is delivering full load at 0.8 p.f. lagging. Its reactance is 20% and resistance is negligible. By changing the excitation, the e.m.f. is increased by 25% at this load. Calculate the new current and the power factor. The machine is connected to infinite bus-bars.

5. a)	Explain the necessity of parallel operation of alternators.

b)	Two 50MVA, 3-phase alternators operate in parallel. The settings of the governors are such that the rise in speed from full-load to no-load is 2% in one machine and 3% in the other, the characteristics being straight lines in both cases. If each machine is fully loaded when the total load is 60MW,what will be the load on each machine when the total load reduced 60MW?

6. a)	What are the advantages and disadvantages of the synchronous motor?

b) 	A Synchronous motor takes 25KW from 400V supply mains. The synchronous reactance of the motor is 4. Find the power factor at which the motor would operate when the exciting current is so adjusted that the generated emf is 500V.

Contd…2

Code No: RR-310205			.2.				Set No: 1

7. a)	Is the synchronous motor self-starting? If not, what are the methods adopted for starting it?

b)	A factory takes 700KVA at a lagging power factor of 0.8. A synchronous motor is to be installed to raise the power factor of 0.8 lagging when the motor is taking 400KW. Calculate the corresponding kilovolt amperes taken by synchronous motor and the power factor at which the motor will be operating.

8. a)	Describe the construction and operation of a shaded pole motor

b)	Why are small fractional horse power ac series motors called universal motors.

###

Code No: RR-310205

Set No.

2

III B.Tech. I-Semester Regular Examinations, November-2004

ELECTROMECHANICS-III

(Electrical and Electronics Engineering)

Time: 3 hours							    Max Marks: 80

Answer any FIVE Questions

All Questions carry equal marks

- - -

1. a)	What is a distribution factor? What is its effect? Derive an expression for distribution factor of a winding having Q slots per pole per phase and a slot angle of .

b)	A certain alternator has 6 slots per pole and the coils are short pitched by 1 slot. The coil span is 5 slot pitches. Calculate the pitch factor.

2. a)	What are slot harmonics and how they are suppressed.

b)	The armature of a single-phase alternator is wound completely with T single turn coils, which are uniformly distributed. The induced e.m.f. in each turn is 2V(rms). Calculate the e.m.f of the whole winding with T number of coils connected in series.

3. a)	Define voltage regulation of an alternator. Explain the various factors, which may     	affect the regulation of an alternator.

b)	A 100-KVA, 3000-v, 50Hz 3-phase star –connected alternator has effective armature resistance of 0.2W.The field current of 40A produces short-circuit current of 200A and an open-circuit emf of 1040V(line value). Calculate the full-load voltage regulation at 0.8 p.f.lagging and 0.8 p.f.leading. Draw phasor diagrams.

4. a)	Show that the behavior of a synchronous machine on infinite bus is quite different from its isolated operation.

b)	A 3-phase alternator has a direct-axis synchronous reactance of 0.7 p.u. and a quadrature axis synchronous reactance of 0.4 p.u. Draw the vector diagram for full-load 0.8 p.f. lagging and obtain there from (i) the load angle and (ii) the no-load per unit voltage.

5. a)	Explain about parallel operation of alternators.

b)	Two Exactly similar turbo – alternators are rated 20 MW each. They are running in parallel. The speed – load characteristics of the driving turbines are such that the frequency of alternator 1 drop uniformly from 50 Hz on no-load to  48 Hz on full – load, and that of alternator 2 from 50 Hz to 48.5Hz. How will the two machines share a load of 30MW?

Contd…2

Code No: RR-310205			.2.				Set No: 2

6. a)	What are the applications of synchronous motor?

b)	A 200V, 3-phase star connected synchronous motor has an effective resistance and synchronous reactance of 0.2 and 2.2 respectively. The input is 800KW at normal voltage and the induced line emf is 2500V. Calculate the line current and power factor.

7. a)	Show that the current locus of a synchronous motor developing constant power is a circle. Determine its center and radius.

b)	The input to a 1100V, 3-phase star connected synchronous motor is 60A. The effective resistance and synchronous reactance per phase are 1 and 30. Find the power supplied to the motor and the induced emf for power factor of 0.8 leading.

8. a)	Explain what is meant by the split-phase method of motor starting.

b)	What are the differences between AC and DC series motors?

###

Code No: RR-310205

Set No.

3

III B.Tech. I-Semester Regular Examinations, November-2004

ELECTROMECHANICS-III

(Electrical and Electronics Engineering)

Time: 3 hours							    Max Marks: 80

Answer any FIVE Questions

All Questions carry equal marks

- - -

1. a)	What factors affect the size of alternator?

b)	Find the value of Kd for an alternator with 9 slots per pole for the following  cases(i)one winding in all the slots (ii)one winding using only the first 2/3 of the slots/pole(iii)three equal windings placed sequentially in 600  group.

2. a)	Explain the phenomena of armature reaction when an alternator is delivering a load current at (a) Purely lagging pf, (b) Unity pf and (c) Purely leading pf.

b)	Determine their values for a 3-phase winding with 4 slots per pole per phase, the coil span being 10 slot pitches. Calculate the percentage increase in R.M.S. Value of the phase voltage due to a 25% third harmonic.

3. a)	Sketch and explain the open –circuit and short circuit characteristics of a synchronous machine. How voltage regulation can be calculated by the use of their results.

b)	A 3-Phase star –connected alternator is rated at 1600KVA, 13,500V.The armature effective resistance and synchronous reactance are 1.5W and 30W respectively per phase. Calculate the percentage regulation for a load of 1280KW at power factors of (a) 0.8 leading, and (b) 0.8 lagging.

4. a)	Develop the expression for finding regulation of salient pole alternator using    two-reaction theory. Draw its phasor diagram.

b)	A 3-phase, star –connected,50-Hz synchronous generator has direct-axis synchronous reactance of 0.6 p.u. and quadrature-axis synchronous reactance of 0.45 p.u. The generator delivers rated KVA at rated voltage. Draw the phasor diagram at full –load 0.8 p.f. Lagging and hence calculate the open –circuit voltage and voltage regulation. Resistive drop at full-load is 0.015 p.u.

5. a)	State and explain the different conditions for operating alternators in parallel.

b)	Two single phase alternators operate in parallel and supply a load impedance of (3+j4) . If the impedance of the machine is (0.2+J2) and emfs are (220+j0) and (220+j0) volts respectively, determine for each machine. (i)Terminal voltage      (ii) power factor and (iii) output.

6. a)	Explain the construction and principle of operation of synchronous motors.

b) 	Explain the characteristics features of a synchronous motor

Contd…2

Code No: RR-310205			.2.				Set No: 3

7. a)	Explain the purpose of using damper windings in a synchronous machine.

b)	The excitation of a 400V, 3-phase mesh connected synchronous motor is such that the induced emf is 510V. The impedance per phase is (0.6+j4.5) . If the friction and iron losses are constant at 800W, Calculate power output, line current and power factor.

8. a)	Explain what is meant by the split-phase method of motor starting

b)	Why are small fractional horse power ac series motors called universal motors?

###

Code No: RR-310205

Set No.

4

III B.Tech. I-Semester Regular Examinations, November-2004

ELECTROMECHANICS-III

(Electrical and Electronics Engineering)

Time: 3 hours							    Max Marks: 80

Answer any FIVE Questions

All Questions carry equal marks

- - -

1. a)	Explain briefly about the different types of armature windings?

b)	Find the value of Kd for an alternator with 9 slots per pole for the following cases:

(i) 	One winding in all the slots

(ii) 	One winding using only the first 2/3 of the slots/pole

- Three equal windings placed sequentially in 600 groups.

2. a)	What do you mean by synchronous reactance? Explain the term synchronous impedance of an alternator.

b)	Calculate the speed and open –circuit line and phase voltages of a 4-pole, 3-phase, 50HZ, star-connected alternator with 36 slots and 30 conductors per slot. The flux per pole is 0.0496 Wb and is sinusoidally distributed.

3. a)	Define and Explain the terms synchronous impedance and voltage regulation of an alternator. State the assumptions made in the synchronous impedance method.

b)	A 3-phase, 50Hz, star-connected, 2000KVA, 2300-V alternator gives a short –circuit current of 600A for a certain field excitation. With the same excitation, the O.C.Voltage was 900V.The resistance between a pair of terminal was 0.12W.Find full –load regulation at (i) u.p.f. (ii) 0.8 p.f.lagging (iii) 0.8 p.f.leading.

4. a)	Explain different synchronization methods used for synchronizing alternators.

b)	A 3 MVA,6-pole alternator runs at 1000 r.p.m in parallel with other machines on 3.3 KV bus-bars. The synchronous reactance is 20%.Calculate the synchronizing power per one mechanical degree of displacement and the corresponding synchronizing torque.

5. a)	Discuss load sharing between two alternators.

b)	Two 750Kw alternators operate in parallel. The speed regulation of one set is 100% to 102% from full –load to no- load and that of the other is 100% to 104%. How will the two alternators share a load of 1000KW and at what load will one machine cease to supply any portion of the load?

6. a)	Explain synchronous condenser.

b)	A substation operating at full load of 1200KVA supplies a load at 0.7 pf lagging. Calculate the permissible additional load at this power factor and the rating of synchronous condenser to the raise of the substation power factor to 0.9 pf lagging.

Contd…2

Code No: RR-310205			.2.				Set No: 4

7. a)	What are the uses of damper windings in a synchronous motor?

b)	Why it is necessary to increase the excitation to obtain minimum current with the application of load.

8. a)	Explain what is meant by the split-phase method of motor starting.

b)	Compare operating characteristics of a resistance-start induction –run-motor with those of a capacitor start induction–run motor.

###