Code No: 410804

Set No.

1

## IV B.Tech  I-Semester Regular Examinations. November, 2004

ENVIRONMENTAL ENGINEERING

(Chemical Engineering)

Time:3 hours							Max.Marks:80

Answer any FIVE questions

All questions carry equal marks.

- - -

1.	What are the ill effects of land disposal of industrial effluent?

2.a) 	Define BOD. State its importance in sewage analysis.

b) 	Explain the method of finding out BOD of a waste water.

3.a) 	What is meant by Elevated Advective Inversion?

b) 	What is atmospheric stability?

c) 	Explain with a schematic diagram the air flow associated with cyclones and 	anticyclones?

4.	Explain with suitable examples and theoretical principles the following air 	pollution devices (a) Venturi scrubber, (b) Bag house (c) cyclone separators?

5.	With a neat flow diagram explain the removal of sulfur from fuel oil using Hydro-de sulphurization process.

6.a)	Describe characteristics of a typical fertilizer plant effluent.

b)	Explain the recovery  of carbon from an ammonia plant effluent.

7.	Discuss the theory of activated sludge process and explain the sequence of operations with a flow diagram.

8.	Write short notes on the following:

- Chlorination

- Ozonation

c)  Ultra filtration.

@^@^@

Code No: 410804

Set No.

2

## IV B.Tech  I-Semester Regular Examinations. November, 2004

ENVIRONMENTAL ENGINEERING

(Chemical Engineering)

Time:3 hours							Max.Marks:80

Answer any FIVE questions

All questions carry equal marks.

- - -

- Discuss the various water pollution legislation and the role of enforcing authorities in curbing water pollution.

2.a) 	Why oxygen is in demand in sewage?

b) 	Deduce an expression for BOD with time.

3.a) 	Define the term Mean Maximum Mixing Depth?

b) 	What are the various types of plume behaviour?

c) 	Give the equation for the estimation of dispersion coefficients.

4. 	Explain with suitable diagrams the principle and the working along with the 	advantages and disadvantages of the absorption column (both packed and 	plate 	tower) and adsorption column?

5.	Explain in brief the removal of SO2 from flue gases using activated carbon.

6.	Describe the particulate matter removal from the gaseous effluent of a fertilizer plant.

7.	Write short notes on

  - Aeration tank

  - Septic tank

  - COD

  - BOD

8.a)	Discuss in brief ozonation and give suitable examples of its application for	pollution abatement.

b)	Discuss Chlorination process with suitable example.

@^@^@

Code No: 410804

Set No.

3

## IV B.Tech  I-Semester Regular Examinations. November, 2004

ENVIRONMENTAL ENGINEERING

(Chemical Engineering)

Time:3 hours							Max.Marks:80

Answer any FIVE questions

All questions carry equal marks.

- - -

1.	Discuss the detail the sources and effects of waste bearing inorganic chemicals discharged into streams.

2.	Describe the various actions involved in the self purification of running streams, stating the characteristics of each action.

3.a) 	Derive Gaussian Plume model.

b) 	Discuss the limitations of the model.

4.	Explains the operating principles of Gravity Settling Chambers. What are their limitations and possible fields of application?

5.	Briefly discuss the important sources of NOx emissions. Explain the factors that control the formation of NOx gases during combustion process.

6.	Explain in brief the various control techniques to be adopted to reduce emissions of pollutants from a fertilizer plant.

7.	Differentiate the suspended growth process and attached growth process with examples for wastewater treatment.

8.	Enlist important uses of ion exchange method. How does it compare with	neutralization.

@^@^@

Code No: 410804

Set No.

4

## IV B.Tech  I-Semester Regular Examinations. November, 2004

ENVIRONMENTAL ENGINEERING

(Chemical Engineering)

Time:3 hours							Max.Marks:80

Answer any FIVE questions

All questions carry equal marks.

- - -

1.	What are the different zones of pollution in stream polluted by wastewater discharge? Explain each zone in detail.

2.a)	How is an oxygen sag curve obtained?

b) 	Derive the Streeter - Phelps equation.

3.a) 	Explain adiabatic lapse rate.

b) 	Explain the atmospheric circulation pattern when dust domes occur?

c) 	Describe briefly the pollutant -wind correlation?

4.	How do you define "particulate pollutants " in a flue gas coming out of the chimney attached to the boiler?  Explain how will you estimate its concentration in this flue gas?

5.	Explain the process of incineration of organic vapour with suitable example.

6.	With a neat flow diagram, explain in brief the treatment of a complex fertilizer plant wastewater.

7.	Design an oxidation pond for treating the waste from a population of 20,000 located in Andhrapradesh.

8.	Is adsorption with activated carbon is proffered method for removal of Cr -3 and 	Cr -6. Discuss the above process in brief.

@^@^@