Code No: 410254

OR

IV B. Tech I-Semester Supplementary Examinations, November-2004

INSTRUMENTATION

(Electrical and Electronics Engineering)

Time: 3 hours							Max. Marks: 70

Answer Any Five Questions

All questions carry equal marks

---

1.a)	Briefly describe the different criteria for selection of transducer for a particular application.

b)	Explain the differences between Primary and Secondary Transducers.

2.a)	What is meant by tuned filter?

b)	Draw the circuit diagram of second order active low pass filter and derive the expression for the gain of the circuit.

3. 	Draw and explain the circuit of a digital frequency meter. What are the different methods used for high frequency determination? Explain each of them briefly.

4.a)	 Describe the engineering applications of wave analysers.

b)	Explain the different types distortions caused by amplifiers.

5.a)	What is the gauge factor and derive the formula.

b)	 Explain how strain gauge is used for torque measurements.

6.	 Explain in detail about piezo electric transducer.

7.a) 	Explain how temperature is going  to affect the strain gauges. Also explain how the temperature effects are handled.

b) 	Explain a method of temperature compensation in strain gauge.

8.a)	How drag cup ac tachometer generators are used for the measurement of angular

velocity.

b)	Give the limitations of ac tachometer generator.

+ + + + +