Code No: 410202

Set No:

1

IV B.Tech I-Semester Regular Examinations, November 2004

POWER SEMICONDUCTOR DRIVES

(Electrical and Electronics Engineering)

Time: 3 hours							Max. Marks: 80

Answer any FIVE questions

All questions carry equal marks

---

1. a) 	What is the purpose of a free wheeling diode in converters when fed to DC motors?

b) 	A 1, half controlled converter is fed from a 120V rms, 60 Hz supply and provides a variable dc voltage at the terminals of a dc motor. The thyristor is triggered continuously by a dc signal. The resistance of armature circuit is 10  and because of fixed motor excitation and high inertia, the motor speed is considered constant so that the back emf is 60V. Find the average value of the armature current neglecting armature inductance.

2. a)	Explain the principle of closed-loop control of a dc drive using suitable block diagram.

b)	Draw and explain the Torque-Speed characteristics for dynamic braking operation of dc series motor.  Why torque becomes zero at finite speed?

3. a)	Deduce the mathematical expression for minimum and maximum currents for a class A chopper operated dc motor with back emf.

b)	A 220V, 24A, 1000rpm separately excited dc motor having an armature resistance of 2 is controlled by a chopper.  The chopping frequency is 500Hz and the input voltage is 230V.  Calculate the duty ratio for a motor torque of 1.2 times rated torque at 500rpm.

4. 	A 3-phase, 4 pole, 50 Hz squirrel cage Induction motor has the following circuit parameters.

r1 = 0.05 ohm, r2= 0.09ohm, X1 + X2 = 0.55 ohm.

The motor is star connected and rated voltage is 400V.  It drives a load whose torque is proportional to the speed and is given as	T1 = 0.05 Nw-m.

Determine the speed and torque of the motor for a firing angle of 45o of the AC Voltage Controller on a 400V, 50 Hz supply.

5.	With a block schematic diagram explain how the speed of the induction motor can be controlled automatically (i.e., using closed loop scheme) with voltage source inverts.  Mention the applications of the above scheme.

Contd…2

Code No: 410202			.2.					Set No: 1

6.	A 3-phase, 50Hz Star connected, 970rpm, 6-pole induction motor has the following parameters referred to the stator.

R1 = 0.2, R2’ = 0.15, X1 = X2’ = 0.4.  Stator to rotor turns ratio = 3.5.  The motor is controlled by the static kramar drive.  The drive is designed for a speed range of 30% below the synchronous speed.  The maximum value of firing angle is 170.  Calculate:

(a)	Turns ratio of the transformer

(b)	Torque for a speed of 750 rpm and  = 140.

(c)	Firing angle for half the rated motor torque and a speed of 850 rpm.

7.	Describe separate controlled mode and self-controlled mode of operation of a synchronous motor drive in detail and compare them.

8.	Draw the block diagram of a closed loop synchronous motor drive fed from VSI and explain.

###

Code No: 410202

Set No:

2

IV B.Tech I-Semester Regular Examinations, November 2004

POWER SEMICONDUCTOR DRIVES

(Electrical and Electronics Engineering)

Time: 3 hours							Max. Marks: 80

Answer any FIVE questions

All questions carry equal marks

---

1.  a) 	Explain the concept of constant torque control and constant power control.

b) 	Explain how the speed control of a dc motor is achieved illustrating the triggering circuits of the thyristors.

2.	With a neat diagram, explain the operation of a dc drive in all four quadrants when fed by a single phase dual converter with necessary waveforms and characteristics.

3. a)	Explain the principle of speed control of a dc motor and show how it can be achieved by a chopper.

b)	A 230V, 1200rpm, 15A separately excited motor has an armature resistance of 1.2.  Motor is operated under dynamic braking with chopper control.  Braking resistance has a value of 20.

i)	Calculate duty ratio of chopper for motor speed of 1000rpm and braking torque equal to 1.5times rated motor torque.

ii)	What will be the motor speed for duty ratio of 0.5 and motor torque equal to its rated torque?

4. 	A 3-phase, 8 pole, 50Hz Induction motor has the following parameters:

r2 = 0.15 ohm, X2 = 0.7 ohm

The motor speed is controlled by varying the applied voltage by an AC Voltage Controller, which operates from a 380V, 50 Hz supply.  Determine the applied voltage per phase of the motor to have a slip of 0.15.  The motor drives a load with a characteristic of  T1 = 0.0142 Nw-m.

Determine the firing angle of the Converter.

5.	Explain the operation of an voltage source inverter (180-degree conduction mode), used for induction motor speed control. Draw neat waveforms of line voltages (Vab, Vbc, Vca) and hence show that the phase voltage, Vab, is six-step voltage waveform.

6.	A 3-phase 400V, 4 pole, 50Hz, Star connected induction motor has the following parameters referred to the stator:  R2’ = 0.2, X2’ = 0.35.  Stator impedance and the magnetizing branch can be ignored.  When driving a load with its torque proportional to speed, the motor runs at 1450rpm.  Calculate the magnitude and phase of the voltage (referred to the stator) to be impressed on the slip rings in order that the motor may operate at 1200 rpm and unity power factor.

Contd…2

Code No: 410202			.2.					Set No: 2

7.	Describe CSI fed and VSI fed synchronous motor drives in detail with block diagrams and compare them.

8.	Describe the open-loop and closed-loop methods of speed control of a synchronous motor using VSI.

###

Code No: 410202

IV B.Tech I-Semester Regular Examinations, November 2004

Set No:

3

POWER SEMICONDUCTOR DRIVES

(Electrical and Electronics Engineering)

Time: 3 hours							Max. Marks: 80

Answer any FIVE questions

All questions carry equal marks

---

1. a) 	Explain how four-quadrant operation is achieved by dual converters each of 3   full wave configuration for d.c. separately excited motor.

b) 	Distinguish between circulating current and non-circulating current mode of operation.

2. 	What are the advantages of electric braking over mechanical braking of D.C. motors? Explain with proper circuit diagram Speed-Torque characteristics of D.C motor under dynamic braking, for the following types:

a)	Separately excited dc motor		b)	Series motor

3. a)	List the advantages offered by dc chopper drives over line-commutated converter controlled dc drives.

b)	A dc chopper controls the speed of dc series motor.  The armature resistance      Ra = 0.04, field circuit resistance Rf = 0.06, and back emf constant Kv = 35 mV/rad/s.  The dc input voltage of the chopper Vs=600V.  If it is required to maintain a constant developed torque of Td = 547N-m, plot the motor speed against the duty cycle K of the chopper.

4.	A pump has a torque-speed curve given by TL=(1.4/103) N2 Nm. It is proposed to 	use a 240V, 50 Hz, 4 pole, star connected Induction motor with the equivalent 	circuit parameters (referred to stator turns)

R1 = 0.25 Ω, R2 = 0.6 Ω, X1 = 0.36 Ω, X2 = 0.36 Ω, Xm = 17.3 Ω.

The pump speed N is to vary from full speed 1250 RPM to 750 RPM by voltage control using pairs of inverse-parallel connected thyristors in the lines. Calculate the range of firing angles required.

5.	A three phase, 4-pole, 18 KW, 300V, star connected Induction motor is driven at 	50 Hz by a six step voltage source inverter supplied from a DC supply of 200V. 	The motor equivalent circuit parameters for 50 Hz operation are

R1 = 0.1 Ω, R2 = 0.17 Ω, Xl = 0.3 Ω, X2 = 0.5 Ω, Xm = large.

Calculate the harmonic torques due to the 5th and 7th harmonic currents. Show 	that, for operation at 1450 RPM, 50 Hz, the harmonic torques are negligible.

Contd…2

Code No: 410202			.2.					Set No: 3

6.	The speed of a 3-phase slip ring induction motor is controlled by variation of rotor resistance.  The full load torque of the motor is 50Nm at a slip of 0.3.  The motor drives load having a characteristics T  N2.  The motor has 4 poles and operates on 50Hz, 400V supply.  Determine the speed of the motor for 0.8 times the rated torque.  The operating condition is obtained with additional resistance in the circuit.  The resistance is controlled by chopper in the rotor circuit.  Determine the average torque developed for a time ratio of 0.4.

7.	Describe cycloconverter drive versus VSI drive for synchronous motor in detail and state their advantages and disadvantages.

8.	Explain, under what conditions the load commutation for CSI can be applied and discuss the operation with modified CSI. Give few advantages.

###

Code No: 410202

IV B.Tech I-Semester Regular Examinations, November 2004

Set No:

4

POWER SEMICONDUCTOR DRIVES

(Electrical and Electronics Engineering)

Time: 3 hours							Max. Marks: 80

Answer any FIVE questions

All questions carry equal marks

---

1. 	A dc series motor has Ra =  3 ,  Rf = 3  and  Maf = 0.15 H. The motor speed is varied by a phase-controlled bridge. The firing angle is π4 and the average speed of the motor is 1450 rpm. The applied ac voltage to the bridge is 330 Sin wt. Assuming continuous motor current find the steady state average motor current and torque. Sketch the waveforms for output voltage, current and gating signals.

2. a)	Discuss in detail counter current and dynamic braking operations of D.C. shunt motors.

b)	A 400V, 750 rpm, 70A dc shunt motor has an armature resistance of 0.3 when running under rated conditions, the motor is to be braked by plugging with armature current limited to 90A.  What external resistance should be connected in series with the armature?  Calculate the initial braking torque and its value when the speed has fallen to 300rpm.

3. a)	Derive the expressions for average motor current, current Imax and Imin and average torque for chopper-fed dc separately excited motor.

b)	A dc chopper controls the speed of a separately excited motor.  The armature resistance is Ra=0.05.  The back emf constant is Kv=1.527v/A-rad/s.  The rated field current is If = 2.5A.  The dc input voltage to the chopper is Vs= 600V.  If it is required to maintain a constant developed torque of Td = 547N-m, plot the motor speed against the duty cycle k of the chopper.

4.	A three-phase, 6-pole, star connected squirrel cage Induction motor is to be 	controlled by terminal voltage variation using pairs of inverse parallel-connected 	thyristors in each supply line. Sketch a diagram of this arrangement and list the 	advantages and disadvantages of thyristor control using symmetrical phase-angle 	triggering, compared with sinusoidal voltage variation.

5.	Explain the following for variable frequency control of Induction motor.

- The motor has higher efficiency and better low speed performance when feed from a pulse-width modulated inverter instead of 6-step inverter.

- The inverter has excellent low speed performance when fed from a Cyclo converter.

- Cyclo-converter is suitable only for low speed drives.

Contd…2

Code No: 410202			    .2.					       Set No: 4

6.	A 3-phase, 420V, 50Hz, star connected induction motor has the following parameters:

R1 = 2.95, R2’ = 2.08, X1 = 6.82, X2’ = 4.11 per phase.  Neglect core loss.  The motor draws a current 6.7A at no load and controlled by rotor resistance controller.  A resistance Re  has been controlled by chopper.  Determine the value of Re to get a speed range of 1500 to 500 rpm, assuming a turns ratio of two between stator and rotor.  The torque and speed of the load are related by T  N.  Determine the characteristics giving the speed Vs time ratio of the chopper.

7.	Describe the cycloconverter method of controlling the speed of a synchronous motor. When is it used? A cycloconverter operating at 400 V, 50 Hz supply draws a power of 10 kVA and is driving a synchronous motor at 200 A, 200 V. Calculate firing angle and input pf, assuming efficiency of the cycloconverter = 96 % and motor pf = 0.8 lag.

8.	Describe self-controlled and load-commutated inverter controlled synchronous motor drives in detail and compare them

###