Code No: 410304

Set No.

1

IV B.Tech. I-Semester Regular Examinations, November-2004

POWER PLANT ENGINEERING

(Mechanical Engineering)

Time: 3 hours							    Max Marks: 80

Answer any FIVE Questions

All Questions carry equal marks

- - -

1.	What is the importance of thermal power development in the country? Describe its development in the last 10 years.

2.	Obtain an expression for the draught produced by a chimney and condition for Maximum discharge.

3. 	Describe the following systems in brief with respect Diesel Power Plant.

- Fuel storage and supply system

- Exhaust system

- Lubrication system.

4. 	Explain cavitations, runway speed and the overall cost of a hydraulic turbine.

5. a)	 Explain the basic principle of thermo electric power generation.

b)	 Explain Thermo electric conversion system with a neat sketch.

6. 	With a neat sketch explain the working of a simple constant pressure gas turbine. Mention its advantages and disadvantages.

7. a)   	What is a nuclear fission?

b)  	Give the functions and materials used for control rods.

c)  	What is Boiling Water Reactor? How does it differ from Pressurized Water Reactor?

8. a) 	What are the capital cost and fixed cost to be considered for cost analysis.

b)	A power station has the installed capacity of 120 MW. Calculate the cost of generation, other data pertaining to power station are given

Capital cost = Rs.120 x 106

Rate of interest and depreciation = 18 %

Annual cost of fuel oil, salaries and taxation = Rs.25 x 106

Load factor = 40 %.

###

Code No: 410304

Set No.

2

IV B.Tech. I-Semester Regular Examinations, November-2004

POWER PLANT ENGINEERING

(Mechanical Engineering)

Time: 3 hours							    Max Marks: 80

Answer any FIVE Questions

All Questions carry equal marks

- - -

1.	Draw a general layout of a thermal power plant and explain the working of different circuits.

2.	Draw a neat diagram of cyclone burner and explain its outstanding features.

3. 	Describe the following system in brief with respect to Diesel Power Plant.

a) 	Air supply system

b) 	Starting system

c) 	Governing system

4. a)	Explain in detail the primary and secondary investigations for selection of a hydro electric power plant.

- What are the various advantages and disadvantages of power generation?

5. a)	What is the basic difference between thermo electric and thermionic conversion             systems?

b)	Explain the working of thermionic system with neat sketch and explain the effects of these factors which control power generation capacity.

6. 	Describe the working of a closed cycle gas turbine power plant. Mention its    advantages and disadvantages.

7. a)	How does a nuclear fission differ from nuclear fusion?

b)  	Enumerate and explain the essential components of nuclear reactor.

c)	What are the advantages of gas cooled reactors?

8. a) 	Explain the significance of load curve in power generation.

b)	In a 60 MW steam power station working at 40 % load factor the energy cost is found to be 5 paise /kWh. Calculate the cost of energy of the power station load factor is improved by 50 % . Due to increased energy generation the fuel cost increases the annual generation cost of 6%.

###

Code No: 410304

Set No.

3

IV B.Tech. I-Semester Regular Examinations, November-2004

POWER PLANT ENGINEERING

(Mechanical Engineering)

Time: 3 hours							    Max Marks: 80

Answer any FIVE Questions

All Questions carry equal marks

- - -

1. 	Draw a net line diagram of in plant coal handling and indicate the name of equipments used at different stages?

2. a)	Describe a cyclone separator.

b)	Explain the carry over losses in cooling towers.

3. a) 	What do you mean by supercharging of Diesel engines?

b) 	List the advantages of supercharging.

c) 	What are the various factors to be considered while selecting the site for Diesel          	engine power plant?

4. a)	Depending on the head at which water is available, how the power plants are classified?

b)	Explain runoff river plants, storage plants, pumped storage plants in a hydraulic power plant.

5. 	Write short notes on

a) 	Thermionic emission types and   b) 	Materials used in these convertors.

6. 	State and explain with neat diagrams inter cooling and reheating in gas turbine power plant.

7. a)	How nuclear reactors are classified?

b)  	Discuss the advantages and disadvantages of Pressurized Water Reactor.

c)	Give a brief account of nuclear waste disposal.

8. a) 	What are the major sources of air pollution?

b) 	What are the different methods used to control SO2 in the flue gases?

###

Code No: 410304

Set No.

4

IV B.Tech. I-Semester Regular Examinations, November-2004

POWER PLANT ENGINEERING

(Mechanical Engineering)

Time: 3 hours							    Max Marks: 80

Answer any FIVE Questions

All Questions carry equal marks

- - -

1.	What are the different methods of out plant coal handling? Discuss their relative merits and demerits?

2. a)	Explain overfeed firing of coal.

b)	How are draughts classified? Explain any one in detail.

3. a)	Explain the cooling system of a Diesel power plant.

b) 	What are the different types of engines used in Diesel power plants.

4. a)	What do you understand by water hammer and what are its effects on the power plant?

b)	What are the functions of a surge tank fore bay and draft tube in a hydraulic power plant?

5. a)	Define the figure of merit and show its effect on the efficiency of the thermo electric power plant taking source temperature as a parameter.

b)	List out the advantages and disadvantages of thermoelectric type of Generators?

6. a)	With a neat block diagram explain the governing system of a open cycle gas turbine power plant.

b)	Discuss the advantages of gas turbine power plant over diesel power plant.

7. a)	What is a moderator?

b)	What you understand by thermal shielding?

c)	Describe in brief giving neat sketch, the working of a pressurized water reactor plant.

8. a)	What are main pollutants from a power station? What is meant by air pollution?

b)	What are the effects of SO2 , NOx and hydrocarbons on human and vegetation?

###