Code No:411152

# OR

IV B.Tech  I-Semester Supplementary Examinations. November, 2004

BIO-MEDICAL EQUIPMENT -II

(Bio-Medical Engineering)

Time:3 hours							Max.Marks:70

### Answer any FIVE questions

All questions carry equal marks.

- - -

1.a)	What are the characteristics of a ultrasound wave?  Explain how it is used in the ultrasound machine.

b)     With a neat diagram, explain the working of a rectilinear scanner.

2.a)	What are the characteristics of hearing aid?   Explain.

b)	Explain the principle and application of retinoscope.

3.a)	Discuss the different types of microphones used in a hearing aid.

b)	Write a note on radio isotope and its use.

4.a)	Discuss the type of materials and their characteristics that are used in artificial organs.

b)	Write a note on corrosion and its consequences.

5.a)	With a diagram , explain the wheel chair mechanism.

b)	What are the types of mechanical and  tissue valves?  Explain.

6.a)	With a block diagram, explain artificial kidney.

b)	Write a note on exchangers.

7.a)	How speech can be analyzed using electronic larynx?  Explain.

b)	Write a note on the type of amplifiers to be used in a hearing aid.

8.	Write short notes on:

a)	Masking.

b)	Prosthetic heart valve.

c)	Normal kidney function.

**********