Code No: 410205

Set No.

1

IV B.Tech. I-Semester Regular Examinations, November-2004

HVDC TRANSMISSION

(Electrical and Electronics Engineering)

Time: 3 hours							    Max Marks: 80

Answer any FIVE Questions

All Questions carry equal marks

- - -

1. 	Compare A.C. and D.C. transmission system based on economic aspects and technical performance.

2.	The a.c. sideline voltage of a 3-φ bridge type inverter is 160 KV with an 	extinction angle of 20o and an overlap (commutation) angle of 20o. Calculate the 	d.c. voltage. What should be the new extinction angle if the d.c. voltage at 	inverter end drop to 180 KV with the overlap angle and the a.c. line voltage 	remaining unaltered .

3. 	Write detailed notes on the following:

a)	Predictive commutation margin control.

b) 	Equidistant firing control.

4. 	Explain in detail, the concept of reactive power requirement in HVDC converters

5.	Derive and explain the solution of AC/DC load flow problem using simultaneous method.

6. a)	Discuss the effects of electric field on contamination.

b)	Explain how converter and DC network are modeled for AC/DC system analysis.

7.	Show mathematically that 5th and 7th harmonics can be eliminated with star-star, and star-delta transformer configurations.

8. 	What are the various types of filters that are employed in HVDC converter station? Discuss them in detail.

~ ~ ~ ~

Code No: 410205

Set No.

2

IV B.Tech. I-Semester Regular Examinations, November-2004

HVDC TRANSMISSION

(Electrical and Electronics Engineering)

Time: 3 hours							    Max Marks: 80

Answer any FIVE Questions

All Questions carry equal marks

- - -

1. 	Compare the performance of A.C. and D.C. transmission system based on the following factors.

- Stability limit.

b) 	Voltage control.

c)	Line compensation.

2.	A H.V.D.C. link has the following parameters:

line resistance = 30 ohms, commutating reactance at the rectifier end is equal to 	60 ohms and at the inverter end 57 ohms. The line voltage (a.c) at the rectifier end  	is 320 KV, and the power delivered at 333KV is 500 MW.

Determine: (a)  the firing angle at the rectifier end

(b)  the a.c. line current and power factor and

(c)   the a.c. line current at the inverter end. Assume the extinction 				angle to be 20o.

3. 	Write short notes on the following

a) 	Constant Alpha control.

b) 	Inverse cosine control.

4.	With analysis, justify the need to modify the reactive power characteristics of a converter station.

5. a)	Compare between simultaneous and sequential methods of Power flow analysis.

b)	Write the mathematical model of converter.

6. a)	Explain the principle of current interruption in d.c. circuit breakers. What are the various types of possible circuit breakers.

b)	Discus the importance of Corona loss in DC transmission.

7. 	Give reasons for selecting star-star and star-delta transformer configuration instead of two star-star configurations for 12 pulse converter.  Derive an equation for primary current.

8. 	Mention the names of various types of filters that are used in HVDC converter station and draw their impedance characteristic and configuration. Give design aspects of one filter.

~ ~ ~ ~

Code No: 410205

Set No.

3

IV B.Tech. I-Semester Regular Examinations, November-2004

HVDC TRANSMISSION

(Electrical and Electronics Engineering)

Time: 3 hours							    Max Marks: 80

Answer any FIVE Questions

All Questions carry equal marks

- - -

1. 	Discuss the reasons for the choice of HVDC transmission over HVAC transmission 	system.

2.	With the help of a neat schematic circuit diagram, explain the operation of a 3 -  6, pulse, Graetz’s circuit when working as rectifier. Also draw the voltage and current wave form to scale of the above circuit when the firing angle  = 0 and hence estimate the following:

a)	DC O/P Voltage

b)	Peak inverse Voltage

c)	R.M.S value of the secondary current of converter transformer

d)	Peak to peak ripple

- Utility factor of the converter transformer.

3. a)	With schematic diagram, explain the concept of constant current control of HVDC converters.

b)	Draw the block diagram and explain the working principle of Constant Extinction Angle Control.

4. 	Write a note on the following sources of reactive power

a) 	Synchronous condensers.

b) 	Static VAR system.

5. a)	Derive the mathematical model of d.c. link controllers of a d.c. link.

b)	Write the mathematical model of a d.c. converter.

6. a)	Briefly explain the recent trends in the development of H.V.D.C. circuit breaker.

b)	Explain about the carona loss in DC line.

7. 	What is the reason for using star-star and star-delta transformer configurations for 12 pulse converter.  Derive an equation for primary current using Fourier analysis.

8. 	What are the filter configurations that are employed for HVDC converter station?  Give design aspect of one such filter.

~ ~ ~ ~

Code No: 410205

Set No.

4

IV B.Tech. I-Semester Regular Examinations, November-2004

HVDC TRANSMISSION

(Electrical and Electronics Engineering)

Time: 3 hours							    Max Marks: 80

Answer any FIVE Questions

All Questions carry equal marks

- - -

1.	What is the need for interconnection of systems?  Explain the merits of connecting HVAC systems by HVDC tie-lines?

2.	Draw the schematic circuit diagram of a 6 – pulse Graetz’s circuit and explain its principle of operation.

3.	Explain the basic principles of DC link control characteristics.

4.	What is meant by reactive power control? How it is achieved? Explain in detail.

5. a)	Obtain the mathematical models of a d.c. link.

b)	Draw the flowchart of AC/DC load flow.

6.	Write a shot notes on:

a) 	By pass valves.

b)  	H.V.D.C. circuit breakers.

c)   	Corona discharges.

7. 	What do you understand by characteristic harmonics in HVDC System? Using Fourier analysis obtain equation for primary current of transformers connected to 12 pulse converter.

8. 	Draw an equivalent circuit for harmonic analysis of system with filters and derive equations for harmonic voltage and current of a single tuned filter.

~ ~ ~ ~