Code No:411353

### OR

## IV B.Tech. I-Semester Supplementary Examinations, November-2004

LOGIC AND DISTRIBUTED CONTROL SYSTEMS

(Electronics and Control Engineering)

Time: 3 hours							    Max Marks: 70

## Answer any FIVE Questions

## All Questions carry equal marks

---

1.a)	Draw a block diagram of a PLC system, explain each block in brief.

- Discuss the specifications of a PLC system.

2.a)	List and draw the basic I/O devices used in PLC’s.

- State two reasons for employing optical isolation with necessary examples.

3.a)	List the three type of programming devices and size advantages and disadvantages for each.

- What type of tool or object should be used to change the position of DIP switches, explain.

4.a)	Draw a ladder diagram for STOP/START station with indicator lamps.

- Describe a micro wave oven in the frame work of a discrete-state process. Define input variables, output variables, and the sequence of serial/parallel events.

5.	Draw a block diagram for distributed control system, explain each block in brief.

6.a)	Explain the concepts of redundancy in PLC’s.

- What are the essential features required for supervisor’s console?

7.a)	What are the standards implemented in the field of communication system.

- Explain different unit level connection Schemes in networking.

8.	Write short notes on the following:

- Bus interface

- Multiple language evolution structure

- Operator interfaces.

*$*$*$*