Code No: 410207

Set No.

1

IV B.Tech. I-Semester Regular Examinations, November-2004

ELECTRICAL DISTRIBUTION SYSTEMS

(Electrical and Electronics Engineering)

Time: 3 hours							    Max Marks: 80

Answer any FIVE Questions

All Questions carry equal marks

- - -

1.	Draw a block diagram in flow chart form for a typical distribution system planning process and explain the techniques for distribution planning.

2. a) 	What informations can be obtained from the load duration curve?

b) 	Explain the following factors:

(i)  	Demand factors 		(ii) 	Connected load

(iii) 	Utilization factor 		(iv) 	Plant factor.

3. 	Draw the one line diagram of radial type primary feeder and mention the factors that influences the selection of primary feeder.

4. 	Explain the procedure for the location of a substation.  Enumerate the various factors affecting the selection of site for a substation.

5. a)	Prove the power loss due to the load currents in the conductors of single-phase lateral ungrounded neutral case is 2 times large than one in the equivalent three  phase lateral.

b)	Prove the power loss due to load currents in the conductors of the single-phase two-wire ungrounded lateral with full capacity neutral is 6 times larger than the one in the equivalent three phase 4-wire lateral.

6. a)	Explain the principle of operation of fuse.

b)	Explain the coordination procedure between Reclosure and fuse.

7. a)	Write a short notes on how an over excited synchronous machine improves power factor?

b)	A feeder supplies an industrial consumer with a cumulative load of i) Induction Motors totaling 300HP which runs at an average efficiency of 89% and lagging average p.f. of 0.85 ii) Synchronous Motors totaling 100HP with an average efficiency of 86% and iii) a heating load of 100KW. The industrial consumer plans to use the synchronous motors to correct its overall p.f. Determine the required p.f. of the synchronous motors to correct the overall p.f. at peak load to i) unity ii)  0.96 lagging.

8. 	Write a notes on need for maintaining good voltage profile in power systems and need to improve power factor?

###

Code No: 410207

Set No.

2

IV B.Tech. I-Semester Regular Examinations, November-2004

ELECTRICAL DISTRIBUTION SYSTEMS

(Electrical and Electronics Engineering)

Time: 3 hours							    Max Marks: 80

Answer any FIVE Questions

All Questions carry equal marks

- - -

1. a)	What is the need for mathematical models to represent the system?  Name the different operations research techniques used by planners, for planning a distribution system.

b)	Discuss about the three factors which affect the distribution system planning in the near future.

2. a)	Explain the following terms

(i) maximum demand 	(ii) coincident demand and 	(iii) non coincident demand.

b)	 Explain following factors

(i) Contribution factor 	(ii) load diversity 	(iii) loss factor

3.	Explain various types of radial primary feeders with diagrams.

4.	Show that if the voltage drops are limited six feeders can carry only 1.25 times as much load as the four feeders.

5. a)	Prove the power loss due to load currents in the conductors of the two-phase, three wire lateral with multi grounded neutral is approximately 1.64 times larger than the one in the equivalent three phase lateral.

b)	Consider the three phase, three wire 240V secondary system with balanced loads at A, B and C as shown in figure. Determine (i) the total voltage drop in one phase of lateral (ii) the real power per phase for each load (iii) the reactive power per phase for each load and iv) the KVA output and load p.f. of the distribution transformer.

6. a)	Explain the principle of operation of circuit Re closure.

b)	Explain the coordination procedure between two fuses.

Contd…2

Code No: 410207				.2.				Set No: 2

7. a)	Explain the effect of shunt compensation on distribution system.

b)	A 3-phase substation transformer has a name plate rating of 7250KVA and a thermal capability of 120% of the name plate rating. If the connected load is 8816KVA with a 085pf lagging p.f., determine the following : i) The KVAR rating of the shunt capacitor bank required to decrease the KVA load of the transformer to its capability level. ii) The power factor of the corrected level.

8. a)	How a shunt capacitor and reactors can control the voltage? List the disadvantages of using a shunt capacitor for voltage control.

b)	With the help of a phasor diagram, show how a series capacitor boosts the voltage? What are the drawbacks of this method?

###

Code No: 410207

Set No.

3

IV B.Tech. I-Semester Regular Examinations, November-2004

ELECTRICAL DISTRIBUTION SYSTEMS

(Electrical and Electronics Engineering)

Time: 3 hours							    Max Marks: 80

Answer any FIVE Questions

All Questions carry equal marks

- - -

1. 	Draw the schematic view of a distribution system planning, and explain the role of computer in distribution system planning.

2. a)	Explain how the load growth in a distribution system can be obtained.

b) 	A distribution substation experiences an annual peak load of 3,500kW.  The total annual energy supplied to the primary feeder circuits is 107 kWh.  Find (i) the annual average power (ii) the annual load factor.

3. a)	Compare the Radial and Loop type primary feeders.

b)	What are the various factors that influence the primary feeder loading.

4.	How do you analyse a substation service area with ‘n’ primary feeders.

5. a)	A single phase a.c. distributor AB 300meters long is fed from end A and is loaded as under :

- 100A at 0.707 p.f. (lag) 200m from point A

- 200A at 0.8 p.f. (lag) 300m from point A

Total resistance and reactance of the distributor is 0.2ohms and 0.1ohms  per km. Calculate the total voltage drop in the distributor. The load power factors refer to the voltage at far end.

b)	A single phase distributor 2km long supplies a load of 120A at 0.8p.f. lagging at its far end and a load of 80A at 0.9 p.f. lag at its mid-point. Both power factors are referred to the voltage at the far end. The resistance and reactance per km (go and return) are 0.05ohms and 0.1ohm respectively. If the voltage at the far end is maintained at 230V; calculate i) voltage t the sending end and ii) phase angle between voltages at the two ends.

6. a)	Explain the principle of operation of line sectionalizer.

b)	Explain the coordination procedure between fuse and circuit breaker.

7. a)	Explain the computerized method to determine the economic power factor.

b)	A feeder supplies an Industrial consumer with a cumulative load of (i) Induction Motors totaling 200HP which runs at an average efficiency of 89% and a lagging average p.f. of 0.85. (ii) Synchronous motors totaling 100HP with an average efficiency of 85% and (iii) a heating load of 100KW. The Industrial consumer plans to use the synchronous motors to correct its overall power factor. Determine the required p.f. of the synchronous motors to correct the overall p.f. at peak load to (i) unity  (ii) 0.95 lag.

Contd…2

Code No: 410207				.2.				Set No: 3

8. a)	Write a short notes on any two methods of voltage control?

b)	Why are Voltage control and p.f. correction necessary in power systems? What are the disadvantages of low voltage and low p.f. of the system?

###

Code No: 410207

IV B.Tech. I-Semester Regular Examinations, November-2004

Set No.

4

ELECTRICAL DISTRIBUTION SYSTEMS

(Electrical and Electronics Engineering)

Time: 3 hours							    Max Marks: 80

Answer any FIVE Questions

All Questions carry equal marks

- - -

1. 	Explain the different control functions used for distribution automation.

2. a)	Explain how a load duration curve is plotted.  What is its age?

b)  	A distribution substation supplies the following loads: 15,000 kW, 8,500 kW, 6,000 kW and 450 kW.  The station has a maximum demand of 22,000 kW.  The annual load factor of the station is 48%.  Calculate (i) the energy supplied annually (ii) the diversity factor and    (iii) the demand factor.

3. 	Derive the equations for voltage drop and power loss in a radial feeder with uniformly distributed load.

4.	Give a detailed analysis of square shaped and hexagonal shaped distribution substation areas.

5. a)	Derive an approximate voltage-drop equation of primary feeder and give the condition for load power factor at which voltage drop is maximum.

b)	Consider a single-phase, 2-wire secondary distributor of length ‘l’ meters from the distribution transformer. At a length of ‘l1’ meters from source, a load of I1amps with a p.f. of Cosφ1 (lag) is tapped. At a length of ‘l2’ meters from first load, a second load of I2amps with a power factor Cosφ2 (lead) is taped. At a length of ‘l3’ meters from second load, a third load of I3amps with a UPF is tapped. If resistance and reactance of each wire are r and x ohms/meter respectively, derive approximate voltage drop equation in the distributor.

6. a)	What are the over current protective devices applied to distribution systems?  Explain any one.

b)	Explain the salient paints in general co-ordination procedure.

7. 	A 3-phase transformer rated 7000KVA and has a over load capability of 125% of the rating. If the connected load is 1150KVA with a 0.8 pf (lag), determine the following : i) The KVAR rating of shunt capacitor bank required to decrease the KVA load of the transformer to its capability level,  ii) the p.f. of the corrected level,  iii) the KVAR rating of the shunt capacitor bank required to correct the load p.f. to unity.

8. a)	Briefly explain the line drop compensation on voltage control..

b)	How an AVB can control voltage? With the aid of suitable diagram explain its function.

###