Code No: 412104

Set No:

1

IV B. Tech I-Semester Regular Examinations, November-2004

EXPERIMENTAL STRESS ANALYSIS

(Aeronautical Engineering)

Time: 3 hours							Max. Marks: 80

Answer any Five questions

All questions carry equal marks

---

1.	What is an extensometer, where it is used?  Explain the working of an optical extensometer with the help of a neat sketch.

2.	Describe the construction of different types of wire strain gauges; explain the fields of their use and draw sketches also.

3.	Write short notes on the following:

- Sensitivity of a measuring device

- Stability of a strain gauge

- Errors in measurements.

4.	Discuss the circuit of a constant current Wheatstone bridge; how does its output voltage change with respect to the change in resistance.

5.	State and explain the stress optic law in terms of relative retardation.

6.	Investigate the error introduced in the fractional fringe order determination by improper setting of the isoclinic angle ( = 0   or /2   ) in Tardy compensation.  Numerically evaluate for  =  50.

7.	Describe shortly the various types of non destructive tests.

8.	Describe in detail the methods of ultrasonic testing, merits and demerits of ultrasonic testing and the reliability of the testing.

(((*)))

Code No: 412104

Set No:

2

IV B. Tech I-Semester Regular Examinations, November-2004

EXPERIMENTAL STRESS ANALYSIS

(Aeronautical Engineering)

Time: 3 hours						Max. Marks: 80

Answer any Five questions

All questions carry equal marks

---

1.	What is an extensometer, where it is used?  Explain the working of an acoustical extensometer with the help of a neat sketch.

2.	Describe the construction of a foil strain gauge.  Give several reasons why the foil strain gauge is preferred over the bonded wire strain gauge.

3.	Write short notes on the following;

- Basic principal of measurement

- Dynamic response of a strain gauge

- Accuracy and errors in measurements.

4.	Derive an expression for the maximum shear stress at a point in terms of strains obtained from a three element rectangular rosette.

5.	State and explain the stress optic law in terms of relative retardation.

6.	Investigate the error introduced in the fractional fringe order determination by imperfect quarter wave plates (= /2   ) in Tardy compensation. Make a numerical evaluation for the case of quarter wave plates for mercury light       ( = 548.1nm) being used with the sodium light ( = 589.3 nm).

7.	What is non-destructive testing; compare its merits and demerits with destructive testing. Which non destructive testing techniques are used in aircraft industry?

8.	Write notes on the following

- Fiber-Optic sensors

- Thermography

- Eddy current testing

(((*)))

Code No: 412104

IV B. Tech I-Semester Regular Examinations, November-2004

Set No:

3

EXPERIMENTAL STRESS ANALYSIS

(Aeronautical Engineering)

Time: 3 hours							Max. Marks: 80

Answer any Five questions

All questions carry equal marks

---

1.	What is an extensometer and where it is used?  Explain the working of a mechanical extensometer with the help of a neat sketch.

2.	What is sensitivity of measurement?  Explain range measurements and errors.

3.	What is calibration? Describe the procedure for the shunt calibration of a strain gauge circuit.

4.	What are the different materials used in the construction of strain gauges? Discuss with their relative merits and demerits.

5.	What is photo elasticity?  State stress optic law and describe the various photo elastic materials.

6.	Derive the equations for light passing through a stressed model in a plane polariscope (polarizer and analyzer crossed).  Use exponential representation for the light wave.

7.	What is non destructive testing, compare its merits and demerits with destructive testing.  Discuss the fields where only destructive or only non destructive type of testing is possible.

8. a)	Discuss the fluorescent penetration technique, and its field of application.

b)	What are the fundamental aspects of brittle coating method?

(((*)))

Code No: 412104

IV B. Tech I-Semester Regular Examinations, November-2004

Set No:

4

EXPERIMENTAL STRESS ANALYSIS

(Aeronautical Engineering)

Time: 3 hours							Max. Marks: 80

Answer any Five questions

All questions carry equal marks

---

1.	What is an extensometer, where it is used?  Explain the working an electrical extensometer with the help of a neat sketch.

2.	Define strain sensitivity. Derive an expression for the strain sensitivity of a metallic alloy conductor.

3.	Write short notes on the following

- Basic principal of measurement

- Accuracy and sensitivity of measurement

- Interpretation of fringe pattern

4.	What is a Wheatstone bridge? Show its different arrangements for measuring strain?

5.	What is photo elasticity?  State stress optic law and describe the various photo elastic materials.

6.	Derive the equations for light passing through a stressed model in a plane polariscope with polarizer and analyzer in parallel positions. Under what conditions does the extinction (I = 0) occurs?

7.	Describe shortly the various types of non destructive tests

8.	Explain the eddy current and acoustic emission testing with examples.

(((*)))