Code No: 410255

OR

IV B. Tech I-Semester Supplementary Examinations, November-2004

HIGH VOLTAGE ENGINEERING

(Electrical and Electronics Engineering)

Time: 3 hours							Max. Marks: 70

Answer Any Five Questions

All questions carry equal marks

---

1.	What do you understand from the term ionization? What are the two main theories adopted for ionization.

2.a)	Explain with diagrams, different types of rectifier circuits for producing high d.c. voltages.

b)  	Determine the ripple voltage and regulation of a 10 stage Cockroft-walton type d.c.   voltage Multiplier circuit having a stage capacitance = 0.01 µF, supply voltage = 100 KV at a frequency of 400 HZ and a Load Current = 10 mA.

3.	Give different circuits that produce impulse waves explaining clearly their relative merits and demerits.

4.a)	Explain and compare the performance of half – wave rectifier and voltage doubler circuits for generation of high d.c. voltages.

b)	A 10 stage  cock roft – Walton circuit has all capacitors of 0.1  f. The secondary voltage of supply transformer is 11 kv at a frequency of 50 hz if the load current is 2 m A find

i)	the voltage requlation

ii) 	ripple voltage.

5.	Give different circuits that produce impulse waves explaining clearly their relative merits and demerits.

6.	Draw a neat schematic diagram of a generating voltmeter and explain its principle of operation.  Discuss its applications and limits.

7.	Discuss various methods of measuring high impulse currents.

8.a) 	Draw the necessary circuit for the partial discharge measurement and explain the procedure.

b) 	What are the various tests done for power capacitors ? Explain each.

+ + + + +