Code No: 410352

## OR

### IV B.Tech. I-Semester Supplementary Examinations, November-2004

### MECHANICAL MEASUREMENTS & CONTROL SYSTEMS

(Common to Mechanical Engineering, Production Engineering and Mechatronics)

Time: 3 hours							    Max Marks: 70

### Answer any FIVE Questions

### All Questions carry equal marks

- - -

1.a)	Explain the following terms connected to mechanical measuring systems with examples

(i) Accuracy		(ii) Precision and calibration

b)	State and explain the different sources of error during measurement of input signals. Classify different types of errors. How are they eliminated?

2.a)	State the advantages of electrical transducer and compare to mechanical transducer. What is an active transducer?  Explain with a sketch, the principle and working of piezo electric transducer.

b)	Write notes on Ionization transducers.

3.a)	(i) State various low pressure measuring devices with ranges of operation.

(ii) Describe the principle and working of a thermo couple thermal conductive gauge with a neat sketch and circuit.

b)	Explain the principle and working of a bubbler level indicator with a sketch.

4.a)	With a neat sketch Describe the principle and working of the following instruments.

a)	MC Zhender flow meter

b)	Stro bo scope

5.a)	State different types of simple vibration measuring devices.

b)	Explain the principle of seismic instrument using in designing a vibrometer.

6.a)	(i) State the importance of strain measurement in measuring mechanical inputs.

(ii) Describe the method of bonding the electrical resistance strain gauges to a specimen.

b)	Explain the method of mounting the electrical distance strain gauges for bending strains as full bridge.  How is error due to ambient temperature changes compensated.

7.a)	(i) State various methods of measuring humidity with principles.

(ii) Write notes on Hygrometer.

b)	(i) Classify different types of control systems. State the importance of control systems in instrumentation.

(ii) Explain how temperature is controlled with a block diagram.

(Contd…2)

# Code No: 410352			-2-					OR

8.	Write short notes on any THREE of the following:

(a) 	Optical pyrometer

(b)	McLeod gauge

(c)	Cryogenic fuel level indicator

(d)	Strain gauge roseate.

*$*$*$*