Code No: 411153

### OR

## IV B.Tech. I-Semester Supplementary Examinations, November-2004

MEDICAL IMAGE TECHNIQUES

(Bio-Medical Engineering)

Time: 3 hours							    Max Marks: 70

## Answer any FIVE Questions

## All Questions carry equal marks

---

1.a)	What are Bremstrahlung and characteristic radiations.

- Explain in what ways the x-ray beam is used for treatment of diseases. (Give examples).

2.a)	What are the long term biological effects of x-ray treatment.

- What do you mean by effects of ionizing radiation.  Explain.

3.a)	What do you mean by Xeroradio graphy Explain?

- Explain DSR (Dynamic Spatial Reconstructor)

4.	What are the following with regard to Acoustic propagation:

a)	Attenuation

b)	Absorption

c)	Scattering.

5.a)	Explain in detail the following:

i)	Interaction of Ultrasound with matter.

ii)	Doppler effect with regard to ultrasound.

- What do you mean by Non linearity parameter with regard to sound propagation.

6.a)	Explain regarding the fundamental properties of Radio activity.

- Write about Generation and detection of Radio activity.

7.	With regard to the NMR Imaging method, discuss the following:

a)	Data acquisition

b)	Spin – Echo Imaging

c)	Gradient Echo Imaging

d)	Blood flow imaging

8.a)	Explain regarding Generation and detection of NMR signal.

- Explain (the block schematic of) the transmitter and receiver with respect to an

NMR signal.

*$*$*$*