Code No.221106

Set No.

1

II-B.Tech. II-Semester Regular Examination April/May 2003

BASIC CLINICAL SCIENCES-I

(Bio-Medical Engineering)

Time: 3 hours							Max.Marks:80

Answer any FIVE questions

All questions carry equal marks

---

1. a)	Explain what is chronic ambulatory peritoneal dialysis.

b)	Compare the different types of dialysers.

2. 	Give the schematic of a hemodialysis machine.

3. 	Design a nerve muscle stimulator and give its specifications.

4. 	Explain what are spinal cord lesions and Myasthenia gravis.

5. a)	Mention the indications for temporary and permanent pacing.

b)	Give the typical specifications of temporary and permanent cardiac pacemakers.

6. a)	Draw and label an ECG waveform.

b)	Explain the diagnostic features of the ECG.

7. a)	Discuss the procedure of a treadmill test.

b)	Give the applications of treadmill and ergometers.

8. a)	Explain the operating principle of an electrosurgical unit.

b)	Explain the working principle of a typical laparoscope.

###

Code No.221106

Set No.

2

II-B.Tech. II-Semester Regular Examination April/May 2003

BASIC CLINICAL SCIENCES-I

(Bio-Medical Engineering)

Time: 3 hours							Max.Marks:80

Answer any FIVE questions

All questions carry equal marks

---

1	Explain (a) Hemofiltration (b) Adequacy of dialysis (c) Clearance and                (d) Dialysance.

2.	Explain the technique of air-bubble detector and a blood-leak detector of a hemodialysis machine.

3. a)	Explain the procedure of pneumoencephalography.

b)	Discuss any two applications of pneumoencephalography.

4. a)	Explain the significance of F response and the H reflex.

b)	Discuss any two diseases of neuromuscular transmission.

5. a)	Explain the mechanism of opening and closing of the mitral and the aortic valves.

b)	What are the qualitative requirements of artificial heart valves?

6. a)	Discuss the constructional details and the technique of insertion of a swan-gauz catheter.

b)	What are the applications of a swan-gauz catheter?

7. a)	What are the indications for a Treadmill test and an ergometer test?

b)	Explain the use of diagnostic ultrasound in cardiology.

8. a)	What are the components of a laparoscope?

b)	Explain one application each of the different types of the laparoscope.

###

Set No.

3

Code No.221106

II-B.Tech. II-Semester Regular Examination April/May 2003

BASIC CLINICAL SCIENCES-I

(Bio-Medical Engineering)

Time: 3 hours							Max.Marks:80

Answer any FIVE questions

All questions carry equal marks

---

1.a)	Explain the working principle of a dialyser with the help of a schematic.

b)	Explain in detail a parallel plate dialyser.

2.	Explain the circuits for monitoring the temperature and composition of the dialysate in a hemodialysis machine.

3.a)	Explain the basic operating principle of a computerized axial tomography

b)	What are the four generations of CAT?

4.a)	Discuss the role of EEG as a diagnostic tool.

b)	Give the characteristics of the resting rhythms of EEG.

5.a)	Describe a technique to measure cardiac output.

b)	Draw and explain the circuit of direct blood pressure measurement system.

6.	Discuss the principles of the four types of oxygenators.

7.	Give the detailed layout of a typical ICCU.

8.	Describe any two endoscopic procedures.

- - -

Set No.

4

Code No.221106

II-B.Tech. II-Semester Regular Examination April/May 2003

BASIC CLINICAL SCIENCES-I

(Bio-Medical Engineering)

Time: 3 hours							Max.Marks:80

Answer any FIVE questions

All questions carry equal marks

---

1.a)	Compare the features of hemodialysis and peritoneal dialysis.

b)	Give the composition of the dialysate and justify each constituent.

2.	Discuss the different tests to be performed before a renal transplantation.

3.a)	Justify electromyography as a diagnostic tool.

b)	Mention the normal values of nerve conduction velocities. Enumerate the factors on which the nerve conduction velocity depends upon.

4.	Synchronize the electrical and mechanical events of the cardiac cycle.

5.a)	Discuss the qualitative requirements of a heart lung machine.

b)	Explain the typical specifications of a permanent cardiac pacemaker.

6.a)	Explain the principle of an echocardiograph using a block diagram.

b)	What is cardiac catheterisation? How is it done.

7.	Describe the functional anatomy of the human gastro-intestinal tract.

8.	Write short notes on IV cannulae and infusion pumps.

- x-