Code No. 221104

Set No.

1

II-B.Tech. II-Semester Examinations April/May, 2003

BIO-TRANSDUCERS AND APPLICATIONS

(Bio-Medical Engineering)

Time: 3 hours							Max. Marks: 80

Answer any Five questions

All questions carry equal marks

---

1. a)	Explain the basic requirements of bio-transducers.

b)	Classify transducers in detail.

2. a)	Explain the principle and measurement of temperature using a thermocouple.

b)	Write a note on thermistor.

3. a)	Describe in detail potentiometer transducers.

b)	Explain inductive transducer.

4. a)	Explain in detail the velocity transducers.

b)	Explain occlusive cuff method of measurement of BP.

5. a)	Explain the indicator dilution method of measurement of blood flow.

b)	Write a note on intravascular thermistor probe.

6. a)	Explain the term water filled plethysmography.

b)	Explain the principle of operational amplifier.

c)	Write a note on differentiation.

7. a)	With block diagram, explain bio-telemetry.

b)	List the ideal characteristics of op-amp.

8.	Write short notes on:

a) Antilog amplifier.

b) Catheter tip transducer.

c) LVDT.

###

Code No. 221104

Set No.

2

II-B.Tech. II-Semester Examinations April/May, 2003

BIO-TRANSDUCERS AND APPLICATIONS

(Bio-Medical Engineering)

Time: 3 hours							Max. Marks: 80

Answer any Five questions

All questions carry equal marks

---

1. a)	What are the factors influencing the choice and design of the transducer in measuring the physiological parameters?  Explain.

b)	Compare and contrast active and passive transducers.

2. a)	Explain the principle and design of a thermo resistive transducer.

b)	Explain the following terms:

i) Thermometer.

ii) PN diode.

3. a)	Describe LVDT in detail.

b)	Explain the principle and application of a piezoelectric transducer.

4. a)	Explain in detail the diaphragm displacement pressure transducer.

b)	Write a note on optical transducer.

5. a)	Explain with diagram the measurement of blood flow using Doppler shift method.

b)	Write a note on plethysmography.

6. a)	Design a instrumentation amplifier to be used for ECG amplification.

b)	Explain the term integrator.

7. a)	Explain the transmission of biological data through radio telemetry.

b)	Write a note on capacitive transducer.

8. 	Write short notes on:

i) Amplitude distortion

ii) Thermistor

iii) Elastic transducer

iv) Log amplifier.

###

Code No. 221104

Set No.

3

II-B.Tech. II-Semester Examinations April/May, 2003

BIO-TRANSDUCERS AND APPLICATIONS

(Bio-Medical Engineering)

Time: 3 hours							Max. Marks: 80

Answer any Five questions

All questions carry equal marks

---

1. a)	With respect to bio-transducer , explain Hysteresis, phasedistortion and sampling errors.

b)	Explain passive transducer with example.

2. a)	Explain the terms:

i) Radiation thermometry.

ii) Clinical thermometry.

- Write a note on thermometer.

3. a)	Explain the resistive strain guage transducer.

b)	With a diagram, explain LVDT.

4. a)	Explain in detail the acceleration transducers.

b)	Write a note on implantable pressure transducer.

5. a)	Explain the design and applications of catheter tip electromagnetic intravascular probe.

b)	Explain the operation of Air filled plethysmography.

6. a)	Write a note on micro pressure transducer.

b)	Explain the method of direct measurement of BP.

7. a)	Explain in detail any two concrete application of telemetry in the field of medicine.

b)	Derive expression for Ad and Ac of an instrumentation amplifier.

8.	Explain the terms:

a) Integrator

b) Doppler shift flow meter

c) Mass baner effect.

###

Code No. 221104

Set No.

4

II-B.Tech. II-Semester Examinations April/May, 2003

BIO-TRANSDUCERS AND APPLICATIONS

(Bio-Medical Engineering)

Time: 3 hours							Max. Marks: 80

Answer any Five questions

All questions carry equal marks

---

1. a)	Explain linearity, and amplitude distortion pertaining to a bio-transducer.

b)	Explain the characteristics of a transducer.

2. a)	Explain the principle, design and applications of a thermoelectric transducer.

b)	Write a note on thermocouple.

3. a)	Explain displacement transducer based on ultrasonic method.

b)	Describe velocity transducer based on Doppler system method.

4. a)	Explain the operation of piezoelectric transducers. Mention its applications

b)	Explain the terms: (i) Resistive transducer		(ii) LVDT.

5. a)	Explain the electrical transduction method of measurement of BP.

b)	Explain Deoperation of optical transducer.  Mention its applications.

6. a)	Describe the pressure gradient technique method of measurement of blood flow.

b)	Explain the term operation amplifier.

7. a)	Explain in detail bioelectric amplifier.

b)	Write a note on log amplifier.

8. 	Write short notes on:

a) Junction diode

b) CMRR

c) Active transducer

d) Inductive transducer.

###