Code No. 220254

OR

II-B.Tech. II-Semester Examination April/May 2003

ELECTRICAL CIRCUITS-II

(Electrical and Electronics Engineering)

Time: 3 hours							Max. Marks: 70

Answer any Five questions

All questions carry equal marks

---

1.	Discuss the phenomenon of neutral shift.  Derive an expression for calculating the neutral shift voltage.

2. a)	Prove that the sum of two watt meters connected in a 3 phase power measurement gives the total power absorbed in the 3-phase system.

b)	A star connected 3 phase load has an impedance of 7.07 + j7.07ohms in each phase.  It is fed from a 173.2 volts 3 phase balanced supply.  Find (i) line current (ii) total power and (iii) power factor.  Draw the phasor diagram.

3.	Explain the following terms:

(i) Independent node 			(ii) Oriented graph

(iii) tree branch			(iv) Link

(v) Mesh.

4.	For the network shown below find the resistance between (a) A and a (b) B and b.

Fig.

5.	State the super position theorem.  Explain the method of solving a network using this theorem.

Contd..2

Code No. 220254				.2.				OR

6. a)	State and explain maximum power transfer theorem.

b)	Using the venin’s  theorem find the current flowing in 2ohms resistance of the network shown below.

Fig.

7.	Two coupled coils are connected in parallel as shown in the figure below (a) find an expression for the equivalent inductance of the circuit (b) if L1 = 0.3H, h2 = 0.8H and k = 0.7.  Find the equivalent inductance.

8.	A two port network is terminated by a load impedance ZL at port 2.  Find driving point impedance at port 1 in terms of (a) Z parameters (b) Y parameters (c) ABCD parameters.

###