Code No: 220852

OR

II-B.Tech. II-Semester Examinations, April/May, 2003

HEAT TRANSFER

(Chemical Engineering)

Time: 3 hours							        Max. Marks: 70

Answer any FIVE questions

All questions carry equal marks

- - -

1.	A furnace wall is built up of two layers laid of fireclay 12cm thick and red brick 25 cm thick while the annular space between the two is filled with diatomite brick (15cm). What should be the thickness of the red brick layer if the wall is to be constructed without diatomite brick, so that the heat flow through the wall remains constant? The thermal conductivities of fireclay, diatomite and red brick being 0.929, 0.129 and 0.699 W/moc respectively.

2.	Derive the equation for steady-state heat transfer through a spherical shell of inner radius r1 and outer radius r2 and compare the result with the solution obtained for a thick walled cylinder.

3.	Benzene is cooled from 60.6oC to 21.1oC in the inner pipe of a double pipe exchanger. Cooling water flows counter currently to the Benzene, entering the jacket at 18.3oC and leaving at 23.9oC. The exchanger consists of an inner pipe of 22.2 mm BWG 16 copper tubing jacketed with 38.1mm schedule 40 steel pipe. The linear velocity of the benzene is 1.52 m/sec. Neglecting the resistance of the wall and scale films and assuming LD>150 for both pipes. Compute the film

co-efficients of the benzene and water and the overall co-efficient based on the outside area of the inner pipe.

4.a)	From the Colburn analogy, how much would the heat transfer co-efficient inside a 1-in schedule 40 steel pipe differ from that inside a 1-in BWG 16 copper tube if the same fluid were flowing in each and the Reynolds number in both cases were 4x104.

b)	Explain Logarithmic mean temperature.

5.	A shell and tube condenser with vertical 19mm BWG 16 copper tubes has chlorobenzene condensing at atmospheric pressure in the shell. The latent heat of condensation of chloroenzene is 324.0 J/g. The tubes are 1.52m long. Cooling water at an average temperature of 79oC is flowing in the tubes. The water side co-efficient is 4.540 W/m2oc.

a)	What is the co-efficient of the condensing chlorobenzene?

b)	What would the co-efficient be in a horizontal condenser with the same number of tubes if the average number of tubes in a vertical stack were 6. Neglect bouling factors and tube wall resistance.

(Contd…2)

Code No: 220852				-2-			OR

6.	A chamber for heat curing of aluminium sheets, lacquered black on both sides, operates by passing the sheet vertically between two steel plates 150mm apart. One of the plates is at 325oC and the other exposed to the atmosphere is at 25oC.

Calculate:

a)	The temperature of the lacquered sheet.

b)	The heat transferred to the walls when equilibrium has been reached.

Neglect conduction effects. Emissivity of laequered sheet is 1.0 and steel is 0.56.

7.	A triple effect evaporator is concentrating a liquid that has no apparent elevation of boiling point. The temperature of the steam to the first effect is 108oC. The boiling point of the solution in the last effect is 52oC. The overall heat transfer co-efficients in W/m2oC are 2500 in the first effect, 2000 in the second effect and 1000 in the third effect. At what temperature will the liquid boil in the first and second effect.

8.	A tubular exchanger 889mm ID contains 828, 19mm OD tubes, 3.66m long on a 25mm square pitch, standard 25% baffles are spaced 305mm apart. Liquid benzene at a bulk temperature of 15.6oC is being heated at the rate of 45, 360 kg/hr. If the outside surfaces of the tubes are at 60oC, estimate the individual heat transfer co-efficient of benzene.

***     ***     ***