Code No:220255

OR

II-B.Tech. II-Semester Examinations, April/May, 2003

ELECTROMECHANICS-II

(Electrical and Electronics Engineering)

Time: 3 hours							        Max. Marks: 70

Answer any FIVE questions

All questions carry equal marks

- - -

1.a)	Derive the emf equation of a single phase transformer.

b)	What are the various losses that occur in a single phase transformer?

c)	In a 100KVA, 2000/200V, 50Hz transformer, the full load copper losses and iron losses are 1500 watts and 1000 watts respectively. Determine the load for which efficiency is maximum and also find the iron and copper losses at that load.

2.a)	Explain with neat circuit diagram, the tests to be conducted for predetermining the efficiency of the transformer.

b)	A transformer has its maximum efficiency of 0.98 at 15KVA at unity power factor. During the day, it is loaded as follows:

12 hours	______     2 KW at power factor 0.5

6 hours	______   12 KW at power factor 0.8

6 hours	______   18 KW at power factor 0.9

Find the all-day efficiency.

c)	Determine the condition for maximum efficiency.

3.a)	State and explain the various conditions to be satisfied for successful parallel operation with equal and unequal voltage ratios.

b)	Obtain the equivalent circuit of 200/400 volts 4 KVA, 50 Hz single phase transformer from the following tests data.

OC Test	:	200 Volt	0.7 Amp	70 Watts	on L-V side

SC Test	:	15   Volt	10 Amp	85 Watts 	on H-V side

4.a)	Explain how Sumpner’s test is conducted on two identical single phase transformers? Also explain its principle of operation.

b)	Two electric furnaces are connected to two secondaries of Scott-connected transformer set at a voltage of 80V which is supplied from a 3-phase 6600V system. The load on teaser is 480 KW and on the main transformer is 720 KW, both at 0.71 pf lagging. Calculate the currents in the lines on the input side. Neglect losses.

5.a)	Write short notes on cooling methods of transformer.

b)	Explain the construction and principle of operation of 3- Induction motor.

(Contd…2)

Code No:220255				-2-				OR

6.a)	In case of Induction motors, why the air gap length is kept as small as is mechanically possible.

b)	From torque equation deduce the slip-torque characteristic of an induction motor. How is it modified?

i)	If rotor resistance is increased, and

ii)	If rotor reactance is increased?

c)	A 3-phase induction motor has a starting torque and maximum torque of 150% of and 250% of full-load torque. Neglecting stator resistance, compute

i)	Slip at maximum torque

ii)	Slip at full-load

iii)	Rotor current at starting in terms of full-load value.

7.a)	Describe and explain how to obtain equivalent circuit of a 3- Induction motor experimentally.

b)	A 4-pole, 50 Hz, 3-phase induction motor has rotor resistance and reactance of 0.025 ohm and 0.1 ohm per phase respectively. Determine the value of speed at which maximum torque occurs and the value of external rotor resistance to be inserted to obtain 80% of maximum torque at starting.

8.a)	Discuss the methods of starting 3-phase induction motor, using star-delta starter with a neat diagram.

b)	A 15 Hp, 440V, 3-phase induction motor has a starting torque equal to 1.5 times the full load value, when it is started with rated voltage. Under the same conditions the starting current is 4.5 times the full load value. Calculate the starting torque and starting current in terms of full load value when started by

i)	Star-delta starter.

ii)	80% of rated voltage using auto-transformer.

iii)	What starting voltage must be applied to make starting current equal to   full load current? What starting torque is developed at this voltage?

***     ***     ***