Code No.221053

OR

II-B.Tech. II-Semester (Supplementary)Examinations April/May 2003

INSTRUMENTATION ENGINEERING-I

(Common to Electronics and Instrumentation Engineering and Electronics and Control Engineering)

Time:3 hours								Max.Marks: 70

Answer any FIVE questions

All questions carry equal marks

---

1.a)	Explain an instrumentation system with a block diagram.

b)	The dead-zone of a certain plyrometer is 0.125 percent of the span. The calibration is 800oC to 1800oC what temperature change must occur before it is detected?

2.a)	Describe mathematical model of measurement systems.

b)	A 0-150V voltmeter has a guaranteed accuracy of 1% of full scale reading. The voltage measured by this instrument is 75V. Calculate the limiting error in percent. Comment upon the result.

3.a)	Name the different types of resistive strain gauges. Explain the principle of operation with suitable examples.

b)	How is temperature effect compensated in strain gauges? Explain.

4.a)	Describe in brief, a piezo resistive type strain gauge, mentioning its merits and demerits.

b)	Name  two materials, which are used to construct piezo electric transducers.

5. 	Draw the schematic diagram of a parallel plate capacitive transducer and explain

how it is useful for measuring linear displacement. Describe the same using

different methods.

6.a)	Describe the different modes of operation of Piezo electric transducers.

b)	Define and sketch binders and twisters.

c)	Explain the application of Piezo electric transducers.

7.a)	Explain about  ‘The Force-balance principle’, related to force-balance transducers.

b)	List out the advantages and the disadvantages of Force-balance trans-ducers and briefly explain about them.

8.	Explain the principle of working, constructional details and applications of

photodiodes.

$$$